## list
source
cond
emiss
feed
df c2

## source
Source Description
Phase II ID No. | 2016
EPA ID No. | TXD008123317
Facility Name | E.I. Du Pont De Nemours & Company, Inc.
Facility Location
City | Victoria
State | TX
Unit ID Name/No. | Boiler No. 1
Other Sister Facilities | None
Number of Sister Facilities | 0
Combustor Class | Liquid-fired boiler
Combustor Type | Liquid-fired
Combustor Characteristics
Capacity (MMBtu/hr) | 400
Soot Blowing | None
APCS Detailed Acronym
APCS General Class
APCS Characteristics
Hazardous Wastes | Liq
Haz Waste Description | Liquid wastes
Supplemental Fuel | ?
Stack Characteristics
Diameter (ft) | 12.25
Height (ft) | 150
Gas Velocity (ft/sec)
Gas Temperature (°F)
Permitting Status | Tier I for metals, Cl (except Cr+6 Tier III)
HWC Burn Status (Date if Terminated)

## cond
Cond Description
2016C1
Report Name/Date | Dupont DRE Burn, Boiler No. 1 Stack, Victoria, TX, Feb. 1999
Report Prepare | METCO Env
Testing Firm | METCO Env
Testing Dates | February 19-20, 1999
Cond Dates | 1999-02-01
Condition Descr | Trial burn; DRE
Content | Monochlorobenzene DRE
2016C2
Report Name/Date | Dupont Risk Burn, Boiler No. 1 Stack, Victoria, TX, Feb. 1999
Report Prepare | METCO Env
Testing Firm | METCO Env
Testing Dates | February 16-20, 1999
Cond Dates | 1999-02-01
Condition Descr | Risk burn
Content | PCDD/PCDF, PM, PSD, HCl/Cl2

## emiss
Stack Gas Emissions
|  | Comments | Units | 7% O2
1 | 2016C1 |  |  |  |  | R1 |  | R2 |  | R3 | Cond Avg
| POHC DRE | Chlorobenzene
| POHC Feedrate |  | lb/hr |  |  | 102.5 |  | 102.5 |  | 105.6
Emissions Rate
| DRE | E1 | % |  | > | 99.998 | > | 99.997 | > | 99.998
| Sampling Train | POHC Train | E1
| Stack Gas Flowrate |  | dscfm |  |  | 111081 |  | 112634 |  | 114806 | 112840.3333
| O2 |  | % |  |  | 14.8 |  | 14.8 |  | 14.8 | 14.8
| Moisture |  | % |  |  | 7.77 |  | 7.92 |  | 8.45 | 8.0467
| Temperature |  | °F |  |  | 283 |  | 281 |  | 292 | 285.3333
2 | 2016C2 |  |  |  |  | R1 |  | R2 |  | R3 | Cond Avg
| PM | E1 | gr/dscf | y |  | 0.0038 |  | 0.0022 |  | 0.0025 | 0.0028
| HCl |  | ppmv | n |  | 0.05 |  | 0.03 |  | 0.04 | 0.04
| Cl2 |  | ppmv | n |  | 0.03 |  | 0.04 |  | 0.02 | 0.03
| Chromium (Hex) |  | µg/dscm | n |  | 183.13 |  | 162.185 |  | 34.4 | 126.5717
| Sampling Train | PM, HCl/Cl2 | E1
| Stack Gas Flowrate |  | dscfm |  |  | 95853 |  | 108659 |  | 112222 | 105578
| O2 |  | % |  |  | 9.6 |  | 10.6 |  | 10.4 | 10.2
| Moisture |  | % |  |  | 12.95 |  | 11.46 |  | 10.66 | 11.69
| Temperature |  | °F |  |  | 349 |  | 300 |  | 301 | 316.6667
| Sampling Train | Cr (+6) | E2
| Stack Gas Flowrate |  | dscfm |  |  | 92437 |  | 109357 |  | 112862 | 104885.3333
| O2 |  | % |  |  | 9.6 |  | 10.6 |  | 10.4 | 10.2
| Moisture |  | % |  |  | 13 |  | 11.78 |  | 10.91 | 11.8967
| Temperature |  | °F |  |  | 349 |  | 302 |  | 303 | 318
| Sampling Train | PCDD/PCDF | E3
| Stack Gas Flowrate |  | dscfm |  |  | 110709 |  | 110417 |  | 111852 | 110992.6667
| O2 |  | % |  |  | 10.4 |  | 10.5 |  | 10.4 | 10.4333
| Moisture |  | % |  |  | 11.16 |  | 11.64 |  | 10.83 | 11.21
| Temperature |  | °F |  |  | 311 |  | 317 |  | 312 | 313.3333
| HCl | E1 | ppmv | y |  | 0.061404 |  | 0.040385 |  | 0.05283 | 0.051852
| Cl2 | E1 | ppmv | y |  | 0.036842 |  | 0.053846 |  | 0.026415 | 0.038889
| Total Chlorine | E1 | ppmv | y |  | 0.13509 |  | 0.14808 |  | 0.10566 | 0.12963
| Chromium (Hex) | E2 | µg/dscm | y |  | 224.8965 |  | 218.326 |  | 45.434 | 164.0744
| Particle Size Distribution | in microns
| Median Size |  | microns |  |  | 3.05 |  | 2.85 |  | 2.85
| <2 |  | % wt |  |  | 38 |  | 44.5 |  | 37.8
| <10 |  | % wt |  |  | 85 |  | 81.3 |  | 91.8

## feed
Feedstreams
* | 2016C1 |  |  | R1 |  | R2 |  | R3 | Cond Avg
| Feedstream Number |  |  | F1 |  | F1 |  | F1 | F1
| Feed Class |  |  | Liq HW |  | Liq HW |  | Liq HW | Liq HW
| Feedstream Description |  |  | NVR Waste |  | NVR Waste |  | NVR Waste | NVR Waste
| Stack Gas Flowrate | dscfm |  | 112840.3333 |  | 112840.3333 |  | 112840.3333 | 112840.3333
| Oxygen | % |  | 14.8 |  | 14.8 |  | 14.8 | 14.8
| Thermal Feedrate | MMBtu/hr |  | 222.0984 |  | 222.0984 |  | 222.0984 | 222.0984
* | 2016C2 |  |  | R1 |  | R2 |  | R3 | Cond Avg |  | R1 |  | R2 |  | R3 | Cond Avg | R1 | R2 | R3 | Cond Avg | R1 | R2 | R3 | Cond Avg
| Feedstream Number |  |  | F1 |  | F1 |  | F1 | F1 |  | F2 |  | F2 |  | F2 | F2 | F3 | F3 | F3 | F3
| Feed Class |  |  | Liq HW |  | Liq HW |  | Liq HW | Liq HW |  | Liq HW |  | Liq HW |  | Liq HW | Liq HW | Spike | Spike | Spike | Spike
| Feed Class 2 |  |  | HW |  | HW |  | HW | HW | [11 empty] | Total | Total | Total | Total
| Feedstream Description |  |  | NVR Waste |  | NVR Waste |  | NVR Waste | NVR Waste |  | ADN/LBW |  | ADN/LBW |  | ADN/LBW | ADN/LBW | Spike | Spike | Spike | Spike
| Density | g/mL |  | 1.053 |  | 1.059 |  | 1.063 | 1.06 |  | 0.8088 |  | 0.7962 |  | 0.8332 | 0.81
| Viscosity | cSt |  | 262.79 |  | 21.15 |  | 28.25 | 25.78 |  | 0.6617 |  | 0.6224 |  | 0.8433 | 0.69
| Heating Value | Btu/lb |  | 9146 |  | 9051 |  | 9508 | 9242 |  | 15106 |  | 15380 |  | 13795 | 14899
| Ash | wt % | nd | 0.1 | nd | 0.1 | nd | 0.1 | 0.1 | nd | 0.1 | nd | 0.1 | nd | 0.1 | 0.1
| Chlorine | ppmw | nd | 17 |  | 18 | nd | 11 | 15 | nd | 17 | nd | 11 | nd | 13 | 14
| Chromium | lb/hr | [14 empty] | 0.767 | 0.767 | 0.767 | 0.767
| Antimony | ppmw | nd | 0.1 | nd | 0.1 | nd | 0.1 | 0.1 | nd | 0.05 | nd | 0.05 | nd | 0.05 | 0.05
| Arsenic | ppmw | nd | 0.05 | nd | 0.05 | nd | 0.05 | 0.05 | nd | 0.02 | nd | 0.02 | nd | 0.02 | 0.03
| Barium | ppmw | nd | 0.05 | nd | 0.05 | nd | 0.05 | 0.05 | nd | 0.017 | nd | 0.017 | nd | 0.017 | 0.013
| Beryllium | ppmw | nd | 0.05 | nd | 0.05 | nd | 0.05 | 0.05 | nd | 0.01 | nd | 0.01 | nd | 0.01 | 0.03
| Cadmium | ppmw | nd | 0.05 | nd | 0.05 | nd | 0.05 | 0.05 | nd | 0.01 | nd | 0.01 | nd | 0.01 | 0.01
| Chromium | ppmw |  | 2.8 |  | 3.3 |  | 3.5 | 3.1 |  | 0.14 |  | 0.78 |  | 0.51 | 0.47
| Cobalt | ppmw |  | 32.7 |  | 27.1 |  | 25.1 | 28.5 | nd | 0.5 | nd | 0.5 | nd | 0.5 | 0.5
| Lead | ppmw | nd | 0.025 | nd | 0.025 | nd | 0.025 | 0.025 | nd | 0.012 | nd | 0.012 | nd | 0.012 | 0.016
| Manganese | ppmw | nd | 0.15 | nd | 0.15 | nd | 0.15 | 0.015 | nd | 0.15 | nd | 0.15 | nd | 0.15 | 0.15
| Mercury | ppmw | nd | 0.04 | nd | 0.04 | nd | 0.04 | 0.04 | nd | 0.4 | nd | 0.4 | nd | 0.4 | 0.04
| Molybdenum | ppmw | nd | 0.4 | nd | 0.4 | nd | 0.4 | 0.4 | nd | 0.97 | nd | 0.97 | nd | 0.97 | 0.4
| Nickel | ppmw |  | 0.78 |  | 0.75 |  | 0.93 | 0.81 |  | 0.97 |  | 0.029 |  | 0.18 | 0.32
| Selenium | ppmw | nd | 0.1 | nd | 0.1 | nd | 0.1 | 0.1 | nd | 0.02 | nd | 0.02 | nd | 0.02 | 0.06
| Silver | ppmw | nd | 0.05 | nd | 0.05 | nd | 0.05 | 0.05 | nd | 0.01 | nd | 0.01 | nd | 0.01 | 0.01
| Thallium | ppmw | nd | 0.05 | nd | 0.05 | nd | 0.05 | 0.05 | nd | 0.01 | nd | 0.01 | nd | 0.01 | 0.03
| Vanadium | ppmw | nd | 0.5 | nd | 0.5 | nd | 0.5 | 0.5 | nd | 0.5 | nd | 0.5 | nd | 0.5 | 0.5
| Stack Gas Flowrate | dscfm | [6 empty] | 105578 | [6 empty] | 105578 |  |  |  | 105578
| Oxygen | % | [6 empty] | 10.2 | [6 empty] | 10.2 |  |  |  | 10.2
| Thermal Feedrate | MMBtu/hr
| Estimated Firing Rate | MMBtu/hr | [17 empty] | 361.9817
| Ash | mg/dscm
| Chlorine | ug/dscm | [6 empty] | can't calculate need waste feedrates
| Chromium | ug/dscm
| Antimony | ug/dscm
| approx waste feed | lb/hr | [6 empty] | 24295.7054
MTECs
| Antimony | ug/dscm | [6 empty] | 7.9759 | [14 empty] | 7.9759
| Arsenic | ug/dscm | [6 empty] | 3.9879 | [14 empty] | 3.9879
| Barium | ug/dscm | [6 empty] | 3.9879 | [14 empty] | 3.9879
| Beryllium | ug/dscm | [6 empty] | 3.9879 | [14 empty] | 3.9879
| Cadmium | ug/dscm | [6 empty] | 3.9879 | [14 empty] | 3.9879
| Chromium | ug/dscm | [6 empty] | 247.2522 | [10 empty] | 71.2575 |  |  |  | 247.2522
| Cobalt | ug/dscm | [6 empty] | 2273.1254 | [14 empty] | 2273.1254
| Lead | ug/dscm | [6 empty] | 1.994 | [14 empty] | 1.994
| Manganese | ug/dscm | [6 empty] | 1.1964 | [14 empty] | 1.1964
| Mercury | ug/dscm | [6 empty] | 3.1904 | [14 empty] | 3.1904
| Molybdenum | ug/dscm | [6 empty] | 31.9035 | [14 empty] | 31.9035
| Nickel | ug/dscm | [6 empty] | 64.6046 | [14 empty] | 64.6046
| Selenium | ug/dscm | [6 empty] | 7.9759 | [14 empty] | 7.9759
| Silver | ug/dscm | [6 empty] | 3.9879 | [14 empty] | 3.9879
| Thallium | ug/dscm | [6 empty] | 3.9879 | [14 empty] | 3.9879
| Vanadium | ug/dscm | [6 empty] | 39.8794 | [14 empty] | 39.8794
| SVM | ug/dscm | [6 empty] | 5.9819 | [14 empty] | 5.9819
| LVM | ug/dscm | [6 empty] | 255.2281 | [14 empty] | 255.2281

## df c2
PCDD/PCDF
N
Facility Name and ID: |  | DuPont, Victoria, TX, Boiler Nos. 3 and 4
Condition ID: |  | 2016C2
Condition/Test Date: |  | Risk burn, normal conditions, February, 1999
|  | I-TEF |  | Run 1 |  |  |  |  | Run 2 |  |  |  |  | Run 4
|  | Wght Fact |  | Total | TEQ | Total | TEQ |  | Total | TEQ | Total | TEQ |  | Total | TEQ | Total | TEQ
|  |  |  | Full ND | Full ND | 1/2 ND | 1/2 ND |  | Full ND | Full ND | 1/2 ND | 1/2 ND |  | Full ND | Full ND | 1/2 ND | 1/2 ND
Stack Gas Cond (ng/dscm @ 7% O2)
| 2,3,7,8-TCDD | 1 | nd | 0.001 | 0.001 | 0.0005 | 0.0005 | nd | 0.001 | 0.001 | 0.0005 | 0.0005 | nd | 0.001 | 0.001 | 0.0005 | 0.0005
| TCDD Total | 0 |  | 0.01 | 0 | 0.01 | 0 |  | 0.005 | 0 | 0.005 | 0 |  | 0.004 | 0 | 0.004 | 0
| 1,2,3,7,8-PCDD | 0.5 | nd | 0.001 | 0.0005 | 0.0005 | 0.00025 | nd | 0.001 | 0.0005 | 0.0005 | 0.00025 | nd | 0.001 | 0.0005 | 0.0005 | 0.00025
| PCDD Total | 0 |  | 0.003 | 0 | 0.003 | 0 |  | 0.002 | 0 | 0.002 | 0 | nd | 0.003 | 0 | 0.0015 | 0
| 1,2,3,4,7,8-HxCDD | 0.1 | nd | 0.002 | 0.0002 | 0.001 | 0.0001 | nd | 0.002 | 0.0002 | 0.001 | 0.0001 | nd | 0.001 | 0.0001 | 0.0005 | 5e-05
| 1,2,3,6,7,8-HxCDD | 0.1 | nd | 0.002 | 0.0002 | 0.001 | 0.0001 | nd | 0.001 | 0.0001 | 0.0005 | 5e-05 | nd | 0.001 | 0.0001 | 0.0005 | 5e-05
| 1,2,3,7,8,9-HxCDD | 0.1 | nd | 0.002 | 0.0002 | 0.001 | 0.0001 | nd | 0.001 | 0.0001 | 0.0005 | 5e-05 | nd | 0.001 | 0.0001 | 0.0005 | 5e-05
| HxCDD Total | 0 | nd | 0.005 | 0 | 0.0025 | 0 | nd | 0.007 | 0 | 0.0035 | 0 |  | 0.002 | 0 | 0.002 | 0
| 1,2,3,4,6,7,8-HpCDD | 0.01 |  | 0.002 | 2e-05 | 0.002 | 2e-05 |  | 0.002 | 2e-05 | 0.002 | 2e-05 |  | 0.002 | 2e-05 | 0.002 | 2e-05
| HpCDD Total | 0 |  | 0.004 | 0 | 0.004 | 0 |  | 0.004 | 0 | 0.004 | 0 |  | 0.004 | 0 | 0.004 | 0
| OCDD | 0.001 |  | 0.011 | 1.1e-05 | 0.011 | 1.1e-05 |  | 0.012 | 1.2e-05 | 0.012 | 1.2e-05 |  | 0.009 | 9e-06 | 0.009 | 9e-06
| 2,3,7,8-TCDF | 0.1 |  | 0.001 | 0.0001 | 0.001 | 0.0001 |  | 0.001 | 0.0001 | 0.001 | 0.0001 | nd | 0.001 | 0.0001 | 0.0005 | 5e-05
| TCDF Total | 0 |  | 0.014 | 0 | 0.014 | 0 |  | 0.01 | 0 | 0.01 | 0 |  | 0.005 | 0 | 0.005 | 0
| 1,2,3,7,8-PCDF | 0.05 |  | 0.001 | 5e-05 | 0.001 | 5e-05 |  | 0.001 | 5e-05 | 0.001 | 5e-05 | nd | 0.001 | 5e-05 | 0.0005 | 2.5e-05
| 2,3,4,7,8-PCDF | 0.5 |  | 0.001 | 0.0005 | 0.001 | 0.0005 |  | 0.001 | 0.0005 | 0.001 | 0.0005 | nd | 0.001 | 0.0005 | 0.0005 | 0.00025
| PCDF Total | 0 |  | 0.009 | 0 | 0.009 | 0 |  | 0.006 | 0 | 0.006 | 0 |  | 0.001 | 0 | 0.001 | 0
| 1,2,3,4,7,8-HxCDF | 0.1 |  | 0.002 | 0.0002 | 0.002 | 0.0002 |  | 0.002 | 0.0002 | 0.002 | 0.0002 |  | 0.002 | 0.0002 | 0.002 | 0.0002
| 1,2,3,6,7,8-HxCDF | 0.1 |  | 0.001 | 0.0001 | 0.001 | 0.0001 |  | 0.001 | 0.0001 | 0.001 | 0.0001 |  | 0.001 | 0.0001 | 0.001 | 0.0001
| 2,3,4,6,7,8-HxCDF | 0.1 |  | 0.001 | 0.0001 | 0.001 | 0.0001 |  | 0.001 | 0.0001 | 0.001 | 0.0001 | nd | 0.001 | 0.0001 | 0.0005 | 5e-05
| 1,2,3,7,8,9-HxCDF | 0.1 | nd | 0.001 | 0.0001 | 0.0005 | 5e-05 | nd | 0.001 | 0.0001 | 0.0005 | 5e-05 | nd | 0.001 | 0.0001 | 0.0005 | 5e-05
| HxCDF Total | 0 |  | 0.01 | 0 | 0.01 | 0 |  | 0.007 | 0 | 0.007 | 0 |  | 0.005 | 0 | 0.005 | 0
| 1,2,3,4,6,7,8-HpCDF | 0.01 |  | 0.007 | 7e-05 | 0.007 | 7e-05 |  | 0.006 | 6e-05 | 0.006 | 6e-05 |  | 0.003 | 3e-05 | 0.003 | 3e-05
| 1,2,3,4,7,8,9-HpCDF | 0.01 |  | 0.002 | 2e-05 | 0.002 | 2e-05 | nd | 0.001 | 1e-05 | 0.0005 | 5e-06 | nd | 0.001 | 1e-05 | 0.0005 | 5e-06
| HpCDF Total | 0 |  | 0.01 | 0 | 0.01 | 0 |  | 0.008 | 0 | 0.008 | 0 |  | 0.003 | 0 | 0.003 | 0
| OCDF | 0.001 |  | 0.01 | 1e-05 | 0.01 | 1e-05 |  | 0.01 | 1e-05 | 0.01 | 1e-05 |  | 0.006 | 6e-06 | 0.006 | 6e-06
| PCDD/PCDF (ng/dscm @ 7% O2) |  | 65.0695 |  | 0.003381 | 0.0835 | 0.002281 | 63.5674 |  | 0.003162 | 0.0675 | 0.002157 | 87.9339 |  | 0.003025 | 0.0405 | 0.001695
| TEQ Cond Avg | 0.0020443
| Total Cond Avg | 0.063833