## list
source
cond
emiss 1
emiss 2
feed 1
feed 2
process 1
process 2
df c10
df c11
df c12
df c50

## source
Source Description
Phase I ID No. | 340
EPA ID No. | WVD056866312
Facility Name | Bayer Coporation
Facility Location
City | New Martinsville
State | West Virginia
Unit ID Name/No. | FBI
Other Sister Facilities | None
Number of Sister Facilities | 0
Combustor Class | Onsite incinerator
Combustor Type | Fluidized bed
Combustor Characteristics
Capacity (MMBtu/hr)
Soot Blowing
APCS Detailed Acronym | ESP/CI/WS
APCS General Class | ESP, CI, LEWS
APCS Characteristics | Carbon added upstream of wet scrubber, downstream of ESP. 2-stage wet scrubber
Carbon used in new demo testing. Not part of regular system
Hazardous Wastes | Liq, solid
Haz Waste Description | Waste H2O sludge, MCB/MEA/polyol liquids
Supplemental Fuel
Stack Characteristics
Diameter (ft) | 3
Height (ft) | 36
Gas Velocity (ft/sec) | 30
Gas Temperature (°F) | 150
Permitting Status
HWC Burn Status (Date if Terminated)

## cond
Condition Description
340C10
| Report Name/Date | Investigation of PCDD/PCDF Emissions from the Fluidized Bed Incinerator with and without Carbon Injection, December 1998
| Report Prepare | ENSR
| Testing Firm | Bayer Coporation
| Testing Dates | 1998-07-07
| Cond Dates | 1998-07-01
| Condition Descr | Baseline test
| Content | PM, CO, PCDD/F
340C11
| Report Name/Date | Investigation of PCDD/PCDF Emissions from the Fluidized Bed Incinerator with and without Carbon Injection, December 1998
| Report Prepare | ENSR
| Testing Firm | Bayer Coporation
| Testing Dates | 1998-07-08
| Cond Dates | 1998-07-01
| Condition Descr | Carbon injected rate 1
| Content | PM, CO, PCDD/F
340C12
| Report Name/Date | Investigation of PCDD/PCDF Emissions from the Fluidized Bed Incinerator with and without Carbon Injection, December 1998
| Report Prepare | ENSR
| Testing Firm | Bayer Coporation
| Testing Dates | 1998-07-09
| Cond Dates | 1998-07-01
| Condition Descr | Carbon injected rate 2
| Content | PM, CO, PCDD/F
340C1
| Report Name/Date | Final Trial Burn Report for the Fluidized Bed Incinerator, Miles, Inc., New Martinsville, WV, ENSR Document No. 4690-009-400, September 1992
| Report Prepare | ENSR
| Testing Firm | ENSR
340C1 | Cond Descr | Trial burn, MAX LIQUID FEED AND ASH INPUT
| Testing Dates | 1992-05-21
| Cond Dates | 1992-05-01
340C2
| Report Name/Date | Final Trial Burn Report for the Fluidized Bed Incinerator, Miles, Inc., New Martinsville, WV, ENSR Document No. 4690-009-400, September 1992
| Report Prepare | ENSR
| Testing Firm | ENSR
340C2 | Cond Descr | Trial burn, MAX HEAT INPUT
| Testing Dates | 1992-05-22
| Cond Dates | 1992-05-01
340C50
| Report Name/Date | As reported in Investigation of PCDD/PCDF Emissions from the Fluidized Bed Incinerator with and without Carbon Injection, December 1998 (as reported in) possibly also same as above 1992 trial burn
Report Prepare
Testing Firm
| Cond Descr | Results of PCDD/PCDF testing in 1992
| Testing Dates | 1992-01-01
| Cond Dates | 1992-01-01

## emiss 1
Stack Gas Emissions 1
|  | Comments | Units | 7% O2
1 | 340C10 |  |  |  | R1 | R2 | R3 | Cond Avg
| PM | E1 | gr/dscf | y | 0.0013 |  |  | 0.0013
| CO (RA) | E1 | ppmv | y | 0.68 |  |  | 0.68
| HC (RA) |  | ppmv | n | 0.86
| NOx |  | lb/hr | n | 4.86
| SO2 |  | lb/hr | n | 0.03
| Sampling Train | PM, CO | E1
| Stack Gas Flowrate |  | dscfm |  | 7840 |  |  | 7840
| O2 |  | % |  | 8.77 |  |  | 8.77
| Moisture |  | % |  | 26.9 |  |  | 26.9
| Temperature |  | °F |  | 150 |  |  | 150
| Sampling Train | PCDD/PCDF | E2
| Stack Gas Flowrate |  | dscfm |  | 8206 |  |  | 8206
| O2 |  | % |  | 8.77 |  |  | 8.77
| Moisture |  | % |  | 25.7 |  |  | 25.7
| Temperature |  | °F |  | 152.4 |  |  | 152.4
| HC (RA) | E1 | ppmv | y
| NOx | E1 | ppmv | y | 233.666
| SO2 | E1 | ppmv | y | 1.4424
2 | 340C11 |  |  |  | R1 | R2 | R3 | Cond Avg
| PM | E1 | gr/dscf | y | 0.0015 | 0.0019 |  | 0.0017
| CO (RA) | E1 | ppmv | y | 7.09 | 2.64 |  | 4.865
| HC (RA) |  | ppmv | n | 0.81 | 0.76
| NOx |  | lb/hr | n | 2.83 | 3.59
| SO2 |  | lb/hr | n | 0.03 | 0.03
| Sampling Train | PM, CO | E1
| Stack Gas Flowrate |  | dscfm |  | 7361 | 7450 |  | 7405.5
| O2 |  | % |  | 8.6 | 8.47 |  | 8.535
| Moisture |  | % |  | 25.7 | 25.7 |  | 25.7
| Temperature |  | °F |  | 150 | 150 |  | 150
| Sampling Train | PCDD/PCDF | E1
| Stack Gas Flowrate |  | dscfm |  | 7608 | 7780 |  | 7694
| O2 |  | % |  | 8.6 | 8.47 |  | 8.535
| Moisture |  | % |  | 27.7 | 27.7 |  | 27.7
| Temperature |  | °F |  | 153.6 | 153.6 |  | 153.6
| HC (RA) | E1 | ppmv | y | 0.91452 | 0.84916 |  | 0.88184
| NOx | E1 | ppmv | y | 142.9321 | 177.2919 |  | 160.112
| SO2 | E1 | ppmv | y | 1.5152 | 1.4815 |  | 1.4984
2 | 340C12 |  |  |  | R1 | R2 | R3 | Cond Avg
| PM | E1 | gr/dscf | y | 0.0024 | 0.0026 |  | 0.0025
| CO (RA) | E1 | ppmv | y | 1.51 | 0.73 |  | 1.12
| HC (RA) |  | ppmv | n | 0.84 | 0.86
| NOx |  | lb/hr | n | 3.08 | 3.57
| SO2 |  | lb/hr | n | 0.03 | 0.03
| Sampling Train | PM, CO | E1
| Stack Gas Flowrate |  | dscfm |  | 7372 | 7814 |  | 7593
| O2 |  | % |  | 8.97 | 10.17 |  | 9.57
| Moisture |  | % |  | 25 | 24.4 |  | 24.7
| Temperature |  | °F |  | 150 | 149 |  | 149.5
| Sampling Train | PCDD/PCDF | E2
| Stack Gas Flowrate |  | dscfm |  | 7720 | 7652 |  | 7686
| O2 |  | % |  | 8.97 | 10.17 |  | 9.57
| Moisture |  | % |  | 26.4 | 25.7 |  | 26.05
| Temperature |  | °F |  | 153.4 | 151.6 |  | 152.5
| HC (RA) | E1 | ppmv | y | 0.97756 | 1.1117 |  | 1.0446
| NOx | E1 | ppmv | y | 160.1038 | 194.4769 |  | 177.2904
| SO2 | E1 | ppmv | y | 1.5595 | 1.6343 |  | 1.5969

## emiss 2
Stack Gas Emissions 2
| 340C1 |  |  |  |  | R1 |  | R2 |  | R3 |  | Cond Avg
340C1 | PM | E1 | gr/dscf | y |  | 0.0088479 |  | 0.0087059 |  | 0.0052333 |  | 0.0075957 | 0.0075957
340C1 | CO (RA) | E1 | ppmv | y |  | 81.587 |  | 46.3949 |  | 21.8905 |  | 49.9575 | 49.9575
340C1 | HC (RA) | E1 | ppmv | y |  | 3.9805 |  |  |  | 0.34826 |  | 2.1644 | 2.1644
340C1 | HCl | E1 | ppmv | y |  | 9.7806 |  | 12.4866 |  | 18.2015 |  | 13.4896 | 13.4896
| Total Chlorine | E1 | ppmv | y |  | 9.7806 |  | 12.4866 |  | 18.2015 |  | 13.4896
340C1 | Antimony | E2 | ug/dscm | y |  | 2.7635 | nd | 6.1735 |  | 2.9963 |  | 3.9778 | 3.9778
340C1 | Arsenic | E2 | ug/dscm | y | nd | 4.6575 | nd | 5.1987 | nd | 4.9939 | 100 | 4.95 | 4.95
340C1 | Barium | E2 | ug/dscm | y |  | 8.3836 |  | 6.4984 |  | 5.9302 |  | 6.9374 | 6.9374
340C1 | Beryllium | E2 | ug/dscm | y |  | 3.4155 |  | 0.10722 |  | 0.099878 |  | 1.2075 | 1.2075
340C1 | Cadmium | E2 | ug/dscm | y |  | 2.453 |  | 1.0397 |  | 1.0612 |  | 1.518 | 1.518
340C1 | Chromium | E2 | ug/dscm | y |  | 403.6526 |  | 0.090978 | nd | 0.40575 |  | 134.7164 | 134.7164
340C1 | Lead | E2 | ug/dscm | y | nd | 4.6575 |  | 4.5489 |  | 2.9963 |  | 4.0676 | 4.0676
340C1 | Mercury | E2 | ug/dscm | y |  | 5.589 |  | 9.0978 |  | 7.4908 |  | 7.3925 | 7.3925
340C1 | Silver | E2 | ug/dscm | y | nd | 1.863 | nd | 2.0795 | nd | 2.0288 |  | 1.9904 | 1.9904
340C1 | Thallium | E2 | ug/dscm | y | nd | 9.3151 | nd | 10.7224 | nd | 10.2999 |  | 10.1124 | 10.1124
| SVM | E2 | ug/dscm | y |  | 7.1105 |  | 5.5886 |  | 4.0575 |  | 5.5855
| LVM | E2 | ug/dscm | y |  | 411.7257 |  | 5.3969 |  | 5.4995 |  | 140.874
1 high outlier run for Cr R1
| Sampling Train | Halogens | E1
| Stack Gas Flowrate |  | dscfm |  |  | 8760 |  | 8783 |  | 9555
| O2 |  | % |  |  | 7.73 |  | 8.83 |  | 8.92
340C1 | Moisture |  | % |  |  | 33.6 |  | 33.6 |  | 31.5
| Temperature |  | °F |  |  | 162 |  | 158 |  | 157
| Sampling Train | Metals | E2
| Stack Gas Flowrate |  | dscfm |  |  | 9071 |  | 9452 |  | 9913
| O2 |  | % |  |  | 7.73 |  | 8.83 |  | 8.92
| Moisture |  | % |  |  | 31.4 |  | 28.7 |  | 28.9
| Temperature |  | °F |  |  | 160 |  | 157 |  | 156
340C1 | Carbon Tetrachloride | DRE | E1 |  |  | 99.9996 |  | 99.999 |  | 99.999
340C1 | Chlorobenzene | DRE | E1 |  |  | 99.9958 |  | 99.998 |  | 99.9987
| 340C2 |  |  |  |  | R1 |  | R2 |  | R3 |  | Cond Avg
340C2 | PM | E1 | gr/dscf | y |  | 0.0045612 |  | 0.0067496 |  | 0.0040883 |  | 0.005133 | 0.005133
340C2 | CO (RA) | E1 | ppmv | y |  | 12.739 |  | 11.174 |  | 13.0216 |  | 12.3116 | 12.3116
340C2 | HC (RA) | E1 | ppmv | y |  | 0.9728 |  | 1.0666 |  | 2.3202 |  | 1.4532 | 1.4532
340C2 | HCl | E1 | ppmv | y |  | 20.9081 |  | 24.6948 |  | 17.9493 |  | 21.1841 | 21.1841
| Total Chlorine | E1 | ppmv | y |  | 20.9081 |  | 24.6948 |  | 17.9493 |  | 21.1841
340C2 | Antimony | E2 | ug/dscm | y | nd | 5.7399 | nd | 6.2155 | nd | 5.579 |  | 5.8448 | 5.8448
340C2 | Arsenic | E2 | ug/dscm | y | nd | 4.5315 | nd | 5.2341 | nd | 4.6981 |  | 4.8212 | 4.8212
340C2 | Barium | E2 | ug/dscm | y |  | 9.6672 |  | 7.524 |  | 155.6239 |  | 57.605 | 57.605
340C2 | Beryllium | E2 | ug/dscm | y |  | 0.18126 | nd | 0.20282 | nd | 0.18499 |  | 0.18969 | 0.18969
340C2 | Cadmium | E2 | ug/dscm | y |  | 0.93651 |  | 1.1122 |  | 0.73408 |  | 0.92761 | 0.92761
340C2 | Chromium | E2 | ug/dscm | y |  | 0.1299 |  | 0.58883 |  | 0.17618 |  | 0.29831 | 0.29831
340C2 | Lead | E2 | ug/dscm | y |  | 19.0323 |  | 7.524 |  | 10.5707 |  | 12.3757 | 12.3757
340C2 | Mercury | E2 | ug/dscm | y |  | 10.2714 |  | 13.0852 |  | 13.507 |  | 12.2879 | 12.2879
340C2 | Silver | E2 | ug/dscm | y | nd | 1.8428 |  | 1.9955 | nd | 1.8499 |  | 1.8961 | 1.8961
340C2 | Thallium | E2 | ug/dscm | y | nd | 9.3651 | nd | 10.4682 | nd | 9.6898 |  | 9.841 | 9.841
| SVM | E2 | ug/dscm | y |  | 19.9688 |  | 8.6362 |  | 11.3048 |  | 13.3033
| LVM | E2 | ug/dscm | y |  | 2.5769 |  | 3.4087 |  | 2.7102 |  | 2.8986
| Sampling Train | Halogens | E1
| Stack Gas Flowrate |  | dscfm |  |  | 9889 |  | 9363 |  | 9166
| O2 |  | % |  |  | 7.97 |  | 8.6 |  | 7.93
340C2 | Moisture |  | % |  |  | 32.1 |  | 31.7 |  | 31.3
| Temperature |  | °F |  |  | 162.2 |  | 159.8 |  | 160.7
| Sampling Train | Metals | E2
| Stack Gas Flowrate |  | dscfm |  |  | 9495 |  | 9214 |  | 9739
| O2 |  | % |  |  | 7.97 |  | 8.6 |  | 7.93
| Moisture |  | % |  |  | 31.4 |  | 30.3 |  | 30.7
| Temperature |  | °F |  |  | 161 |  | 159 |  | 159
340C2 | Carbon Tetrachloride | E1 | % |  |  | 99.9991 |  | 99.9988 |  | 99.9989
340C2 | Chlorobenzene | E1 | % |  |  | 99.9991 |  | 99.9991 |  | 99.9981

## feed 1
Feedstreams 1
* | 340C10 | Trial burn |  | Cond Avg | Cond Avg | Cond Avg | Cond Avg | Cond Avg | Cond Avg | Cond Avg | Cond Avg
| Feedstream Number |  |  | F1 | F2 | F3 | F4 | F5 | F6 |  | F7
| Feed Class |  |  | Solid HW | Sludge HW | Liq HW | Liq HW | Liq HW | Liq HW |  | Total
| Feed Class 2 | [8 empty] | HW | Total
| Feedstream Description |  |  | Solid Organic | Wastewater Sludge | MCB | MEA | Polyol | Total Liq-B |  | Total
| Feed Rate |  | lb/hr | 1377 | 3818 | 150 | 0 | 172 | 288 |  | 5805
| Heating Value |  | Btu/lb
| Chlorine |  | %wt | 1.7 | 0.27 | 31.5
| Ash |  | lb/hr | 16.5 | 155 | [5 empty] | 171.5
| Stack Gas Flowrate |  | dscfm | 7840 | 7840 | 7840 | 7840 | 7840 | 7840 |  | 7840
| Oxygen |  | % | 8.77 | 8.77 | 8.77 | 8.77 | 8.77 | 8.77 |  | 8.77
| Thermal Feedrate |  | MMBtu/hr
| Estimated Firing Rate |  | MMBtu/hr | [7 empty] | 30.4391
Feedrate MTEC Calculations
| Chlorine |  | ug/dscm | 913874.4689 | 402442.0672 | 1844613.98 |  |  |  | 3160930.5161 | 3160930.5161
| Ash |  | mg/dscm | 644.1509 | 6051.1146 |  |  |  |  | 6695.2656 | 6695.2656
* | 340C11 | Trial burn |  | R1 | R2 | Cond Avg | R1 | R2 | Cond Avg |  | R1 | R2 | Cond Avg | R1 | R2 | Cond Avg | R1 | R2 | Cond Avg | R1 | R2 | Cond Avg | R1 | R2 | Cond Avg | R1 | R2 | Cond Avg | R1 | R2 | Cond Avg
| Feedstream Number |  |  | F1 | F1 | F1 | F2 | F2 | F2 |  | F3 | F3 | F3 | F4 | F4 | F4 | F5 | F5 | F5 | F6 | F6 | F6 | F7 | F7 | F7 | F8 | F8 | F8
| Feed Class |  |  | Solid HW | Solid HW | Solid HW | Sludge HW | Sludge HW | Sludge HW |  | Liq HW | Liq HW | Liq HW | Liq HW | Liq HW | Liq HW | Liq HW | Liq HW | Liq HW | Liq HW | Liq HW | Liq HW | Liq HW | Liq HW | Liq HW | Total | Total | Total
| Feed Class 2 | [24 empty] | Total | Total | Total | HW | HW | HW
| Feedstream Description |  |  | Solid Organic | Solid Organic | Solid Organic | Wastewater Sludge | Wastewater Sluge | Wastewater Sluge |  | MCB | MCB | MCB | MEA | MEA | MEA | Polyol | Polyol | Polyol | Total Liq-B | Total Liq-B | Total Liq-B | PAC | PAC | PAC | Total | Total | Total
| Feed Rate |  | lb/hr | 1203 | 1200 | 1201.5 | 3968 | 3905 | 3936.5 |  | 173 | 170 | 171.5 | 0 | 0 |  | 165 | 183 | 174 | 346 | 351 | 348.5 | 7 | 7 | 7 | 5862 | 5816 | 5839
| Heating Value |  | Btu/lb
| Chlorine |  | %wt | 1.7 | 1.7 |  | 0.27 | 0.27 |  |  | 31.5 | 31.5
| Ash |  | lb/hr | 14.4 | 14.4 |  | 161 | 159 | [14 empty] | 7 | 6.5 | 6.75
| Stack Gas Flowrate |  | dscfm | 7361 | 7450 | 7405.5 | 7361 | 7450 | 7405.5 |  | 7361 | 7450 | 7405.5 | 7361 | 7450 | 7405.5 | 7361 | 7450 | 7405.5 | 7361 | 7450 | 7405.5 | 7361 | 7450 | 7405.5 | 7361 | 7450 | 7405.5
| Oxygen |  | % | 8.6 | 8.47 | 8.535 | 8.6 | 8.47 | 8.535 |  | 8.6 | 8.47 | 8.535 | 8.6 | 8.47 | 8.535 | 8.6 | 8.47 | 8.535 | 8.6 | 8.47 | 8.535 | 8.6 | 8.47 | 8.535 | 8.6 | 8.47 | 8.535
| Thermal Feedrate |  | MMBtu/hr
| Estimated Firing Rate |  | MMBtu/hr | [24 empty] | 29.3046
Feedrate MTEC Calculations
| Chlorine |  | ug/dscm | 838691.5134 | 818029.6144 | 828360.5639 | 439362.6423 | 422788.9823 | 431075.8123 |  | 2234829.3003 | 2147327.7377 | 2191078.519 | [12 empty] | 3512883.4559 | 3388146.3343 | 3450514.8951 | 3512883.4559 | 3388146.3343 | 3450514.8951
| Ash |  | mg/dscm | 590.5412 | 577.4327 | 583.9869 | 6602.5785 | 6375.8191 | 6489.1988 | [13 empty] | 287.0686 | 260.6467 | 273.8577 | 7480.1884 | 7213.8984 | 7347.0434 | 7480.1884 | 7213.8984 | 7347.0434
* | 340C12 | Trial burn |  | R1 | R2 | Cond Avg | R1 | R2 | Cond Avg |  | R1 | R2 | Cond Avg | R1 | R2 | Cond Avg | R1 | R2 | Cond Avg | R1 | R2 | Cond Avg | R1 | R2 | Cond Avg | R1 | R2 | Cond Avg | R1 | R2 | Cond Avg
| Feedstream Number |  |  | F1 | F1 | F1 | F2 | F2 | F2 |  | F3 | F3 | F3 | F4 | F4 | F4 | F5 | F5 | F5 | F6 | F6 | F6 | F7 | F7 | F7 | F8 | F8 | F8
| Feed Class |  |  | Solid HW | Solid HW | Solid HW | Sludge HW | Sludge HW | Sludge HW |  | Liq HW | Liq HW | Liq HW | Liq HW | Liq HW | Liq HW | Liq HW | Liq HW | Liq HW | Liq HW | Liq HW | Liq HW | Liq HW | Liq HW | Liq HW | Total | Total | Total
| Feed Class 2 | [24 empty] | Total | Total | Total | HW | HW | HW
| Feedstream Description |  |  | Solid Organic | Solid Organic | Solid Organic | Wastewater Sludge | Wastewater Sludge | Wastewater Sludge |  | MCB | MCB | MCB | MEA | MEA | MEA | Polyol | Polyol | Polyol | Total Liq-B | Total Liq-B | Total Liq-B | PAC | PAC | PAC | Total | Total | Total
| Feed Rate |  | lb/hr | 1236 | 1256 | 1246 | 3734 | 3726 | 3730 |  | 204 | 0 | 102 | 0 | 202 | 101 | 175 | 175 | 175 | 330 | 310 | 320 | 19.8 | 19.8 | 19.8 | 5698.8 | 5688.8 | 5693.8
| Heating Value |  | Btu/lb
| Chlorine |  | %wt | 1.7 | 1.7 |  | 0.27 | 0.27 |  |  | 31.5 | 31.5 |  |  | 8
| Ash |  | lb/hr | 14.8 | 15.1 |  | 152 | 151 | [14 empty] | 19.8 | 19.8 | 19.8
| Stack Gas Flowrate |  | dscfm | 7372 | 7814 | 7593 | 7372 | 7814 | 7593 |  | 7372 | 7814 | 7593 | 7372 | 7814 | 7593 | 7372 | 7814 | 7593 | 7372 | 7814 | 7593 | 7372 | 7814 | 7593
| Oxygen |  | % | 8.97 | 10.17 | 9.57 | 8.97 | 10.17 | 9.57 |  | 8.97 | 10.17 | 9.57 | 8.97 | 10.17 | 9.57 | 8.97 | 10.17 | 9.57 | 8.97 | 10.17 | 9.57 | 8.97 | 10.17 | 9.57
| Thermal Feedrate |  | MMBtu/hr
| Estimated Firing Rate |  | MMBtu/hr
Feedrate MTEC Calculations
| Chlorine |  | ug/dscm | 888200.7789 | 990603.9013 | 939402.3401 | 426168.9802 | 466732.5481 | 446450.7642 |  | 2716342.1879 | 0 | 1358171.0939 |  | 749726.4446 | 749726.4446 | [9 empty] | 4030711.947 | 2207062.894 | 3493750.6428 | 4030711.947 | 2207062.894 | 3493750.6428
| Ash |  | mg/dscm | 606.9451 | 612.8233 | 609.8842 | 6233.4903 | 6128.2329 | 6180.8616 | [13 empty] | 811.9941 | 803.5696 | 807.7819 | 7652.4295 | 7544.6258 | 7598.5277 | 7652.4295 | 7544.6258 | 7598.5277

## feed 2
Feedstreams 2
| 340C1 |  |  | R1 |  | R2 |  | R3 |  | R1 |  | R2 |  | R3 |  | R1 |  | R2 |  | R3 |  | R1 |  | R2 |  | R3 |  | R1 |  | R2 |  | R3 |  | Cond Avg
| Feedstream Number |  |  | F1 |  | F1 |  | F1 |  | F2 |  | F2 |  | F2 |  | F3 |  | F3 |  | F3 | [7 empty] | F4 |  | F4 |  | F4 |  | F4
| Feed Class |  |  | Liq HW |  | Liq HW |  | Liq HW |  | Sludge HW |  | Sludge HW |  | Sludge HW |  | Liq HW |  | Liq HW |  | Liq HW | [7 empty] | Total |  | Total |  | Total |  | Total
| Feed Class 2 | [20 empty] | HW |  | HW |  | HW |  | Total |  | Total |  | Total |  | Total
| Feedstream Description |  |  | TDI Residue |  | TDI Residue |  | TDI Residue |  | Waste water sludge |  | Waste water sludge |  | Waste water sludge |  | Mixed organic liq |  | Mixed organic liq |  | Mixed organic liq | [7 empty] | Total |  | Total |  | Total |  | Total
340C1 | Feedrate | lb/hr |  | 2097 |  | 2268 |  | 2208 |  | 967 |  | 695 |  | 543 |  | 341.7 |  | 264.8 |  | 358
| Feedrate wet | lb/hr | [7 empty] | 4115 |  | 4017 |  | 3961
340C1 | Heating value | Btu/lb |  | 10347 |  | 10489 |  | 10578 |  | 1909 |  | 2029 |  | 1748 |  | 11930 |  | 12171 |  | 11025
340C1 | Ash | wt % |  | 0.42 |  | 0.3 |  | 1.25 |  | 73.81 |  | 71.64 |  | 68.33 |  | 0.08 |  | 0.07 |  | 0.33
340C1 | Chlorine | ppmw |  | 14800 |  | 14400 |  | 13200 |  | 12900 |  | 15700 |  | 17500 |  | 114000 |  | 89300 |  | 199000
340C1 | Antimony | ppmw | 1 | 3.5 | 1 | 3.3 | 1 | 3.3 | 1 | 27 | 1 | 30 | 1 | 32 | 1 | 3 | 1 | 3 | 1 | 2.9
340C1 | Arsenic | ppmw | 1 | 2.9 | 1 | 2.8 | 1 | 2.8 |  | 50 |  | 41 |  | 54 | 1 | 2.5 | 1 | 2.5 | 1 | 2.4
340C1 | Barium | ppmw | 1 | 1.15 |  | 0.841 |  | 9.26 |  | 226 |  | 220 |  | 194 | 1 | 0.099 | 1 | 0.099 | 1 | 0.0981
340C1 | Beryllium | ppmw |  | 1.55 |  | 0.785 |  | 4.24 |  | 81.7 |  | 89.9 |  | 76.8 | 1 | 0.099 | 1 | 0.099 | 1 | 0.098
340C1 | Cadmium | ppmw | 1 | 0.172 | 1 | 0.168 |  | 0.441 |  | 0.212 |  | 0.257 |  | 0.18 | 1 | 0.149 | 1 | 0.148 | 1 | 0.147
340C1 | Chromium | ppmw |  | 18.2 |  | 12.1 |  | 17.7 |  | 143 |  | 138 |  | 140 |  | 2.92 |  | 2.67 | 1 | 0.196
340C1 | Lead | ppmw | 1 | 2.9 | 1 | 2.8 | 1 | 2.8 |  | 50 |  | 35 |  | 42 | 1 | 2.5 | 1 | 2.5 | 1 | 2.4
340C1 | Mercury | ppmw | 1 | 0.055 | 1 | 0.055 | 1 | 0.046 |  | 0.62 |  | 0.65 |  | 0.7 | 1 | 18.2 | 1 | 7.14 | 1 | 1.67
340C1 | Silver | ppmw | 1 | 1.2 | 1 | 1.1 | 1 | 1.1 | 1 | 8.8 | 1 | 9.9 | 1 | 11 | 1 | 0.99 | 1 | 0.99 | 1 | 0.98
340C1 | Thallium | ppmw | 1 | 5.7 | 1 | 5.6 | 1 | 5.5 | 1 | 30 | 1 | 50 | 1 | 40 | 1 | 5 | 1 | 0.49 | 1 | 4.9
| Chlorine | lb/hr | [25 empty] | 94.6 |  | 77.5 |  | 123.5
| Ash | lb/hr | [25 empty] | 722.9 |  | 504.9 |  | 447.3
| Stack Gas Flowrate | dscfm |  | 8760 |  | 8783 |  | 9555 |  | 8760 |  | 8783 |  | 9555 |  | 8760 |  | 8783 |  | 9555 | [7 empty] | 8760 |  | 8783 |  | 9555
| Oxygen | % |  | 7.73 |  | 8.83 |  | 8.92 |  | 7.73 |  | 8.83 |  | 8.92 |  | 7.73 |  | 8.83 |  | 8.92 | [7 empty] | 7.73 |  | 8.83 |  | 8.92
Feedrate MTEC Calculations
| Antimony | ug/dscm | 100 | 236.3402 | 100 | 262.1016 | 100 | 236.2988 | 100 | 840.7394 | 100 | 730.1613 | 100 | 563.5058 | 100 | 33.0094 | 100 | 27.8197 | 100 | 33.669 | 100 | 1110.089 | 100 | 1020.0826 | 100 | 833.4736 | 100 | 1110.089 | 100 | 1020.0826 | 100 | 833.4736 | 100 | 987.8817
| Arsenic | ug/dscm | 100 | 195.8248 | 100 | 222.3893 | 100 | 200.496 |  | 1556.9249 |  | 997.8871 |  | 950.916 | 100 | 27.5078 | 100 | 23.1831 | 100 | 27.864 | 12.545 | 1780.2574 | 19.7491 | 1243.4594 | 19.3644 | 1179.276 | 12.545 | 1780.2574 | 19.3644 | 1243.4594 | 19.3644 | 1179.276 | 16.4759 | 1400.9976
| Barium | ug/dscm | 100 | 77.6546 | 100 | 66.7962 |  | 663.0689 |  | 7037.3003 |  | 5354.5161 |  | 3416.2539 | 100 | 1.0893 | 100 | 0.91805 | 100 | 1.1389 | 1.1066 | 7116.0443 | 1.2488 | 5422.2303 | 0.027912 | 4080.4617 | 1.1066 | 7116.0443 | 0.027912 | 5422.2303 | 0.027912 | 4080.4617 | 0.48979 | 5539.5788
| Beryllium | ug/dscm |  | 104.665 |  | 62.3484 |  | 303.6082 |  | 2544.0152 |  | 2188.05 |  | 1352.4139 | 100 | 1.0893 | 100 | 0.91805 | 100 | 1.1378 | 0.04111 | 2649.7695 | 0.040778 | 2251.3164 | 0.068658 | 1657.1599 | 0.04111 | 2649.7695 | 0.068658 | 2251.3164 | 0.068658 | 1657.1599 | 0.057528 | 2186.0819
| Cadmium | ug/dscm | 100 | 11.6144 | 100 | 13.3434 |  | 31.5781 |  | 6.6014 |  | 6.255 |  | 3.1697 | 100 | 1.6395 | 100 | 1.3724 | 100 | 1.7067 | 66.7526 | 19.8553 | 70.1726 | 20.9708 | 4.6816 | 36.4545 | 66.7526 | 19.8553 | 4.6816 | 20.9708 | 4.6816 | 36.4545 | 20.6292 | 25.7602
| Chromium | ug/dscm |  | 1228.9692 |  | 961.0393 |  | 1267.421 |  | 4452.8051 |  | 3358.7419 |  | 2465.3378 |  | 32.1291 |  | 24.7595 | 100 | 2.2756 | 0 | 5713.9034 | 0 | 4344.5407 | 0.060925 | 3735.0344 | 0 | 5713.9034 | 0.060925 | 4344.5407 | 0.060925 | 3735.0344 |  | 4597.8262
| Lead | ug/dscm | 100 | 195.8248 | 100 | 222.3893 | 100 | 200.496 |  | 1556.9249 |  | 851.8548 |  | 739.6014 | 100 | 27.5078 | 100 | 23.1831 | 100 | 27.864 | 12.545 | 1780.2574 | 22.3771 | 1097.4272 | 23.5918 | 967.9613 | 12.545 | 1780.2574 | 23.5918 | 1097.4272 | 23.5918 | 967.9613 | 18.4779 | 1281.882
| Mercury | ug/dscm | 100 | 3.7139 | 100 | 4.3684 | 100 | 3.2939 |  | 19.3059 |  | 15.8202 |  | 12.3267 | 100 | 200.2569 | 100 | 66.2108 | 100 | 19.3887 | 168.1661 | 121.2913 | 138.0934 | 51.1097 | 95.8365 | 23.668 |  | 121.2913 |  | 51.1097 |  | 23.668 | 0 | 65.3563
| Silver | ug/dscm | 100 | 81.0309 | 100 | 87.3672 | 100 | 78.7663 | 100 | 274.0188 | 100 | 240.9532 | 100 | 193.7051 | 100 | 10.8931 | 100 | 9.1805 | 100 | 11.3778 | 100 | 365.9428 | 100 | 337.5009 | 100 | 283.8492 | 100 | 365.9428 | 100 | 337.5009 | 100 | 283.8492 | 100 | 329.0976
| Thallium | ug/dscm | 100 | 384.8969 |  | 444.7785 | 100 | 393.8314 | 100 | 934.1549 | 100 | 1216.9355 | 100 | 704.3822 | 100 | 55.0156 | 100 | 4.5439 | 100 | 56.8889 | 100 | 1374.0675 | 73.3067 | 1666.2579 | 100 | 1155.1026 | 100 | 1374.0675 | 100 | 1666.2579 | 100 | 1155.1026 | 100 | 1398.476
| SVM | ug/dscm | 100 | 207.4392 | 100 | 117.8663 | 86.3931 | 232.0741 |  | 1563.5262 |  | 858.1099 |  | 742.7711 | 100 | 29.1473 | 100 | 12.2777 | 100 | 14.7853 | 13.1429 | 1800.1127 | 13.1691 | 988.2539 | 21.7537 | 989.6305 | 13.1429 | 1800.1127 | 21.7537 | 988.2539 | 21.7537 | 989.6305 | 17.6509 | 1259.3324
| LVM | ug/dscm | 12.8035 | 1529.4589 | 19.601 | 1134.5824 | 11.3177 | 1771.5252 |  | 8553.7452 |  | 6544.679 |  | 4768.6678 | 47.0919 | 60.7263 | 65.4742 | 36.8101 | 100 | 16.7764 | 2.2124 | 10143.9303 | 3.1945 | 7716.0714 | 3.3136 | 6556.9694 | 2.2124 | 10143.9303 | 3.3136 | 7716.0714 | 3.3136 | 6556.9694 | 2.8561 | 8138.9904
| Ash | mg/dscm |  | 103.7196 |  | 117.8663 |  | 116.0371 |  | 1563.5262 |  | 858.1099 |  | 742.7711 |  | 14.5736 |  | 12.2777 |  | 14.7853 |  | 23278.2002 |  | 17681.4596 |  | 14505.9934 |  | 23278.2002 |  | 17681.4596 |  | 14505.9934 |  | 18488.551
| Chlorine | ug/dscm |  | 1431.5465 |  | 1134.5824 |  | 1671.2772 |  | 8553.7452 |  | 6544.679 |  | 4768.6678 |  | 46.4277 |  | 36.8101 |  | 15.6386 |  | 3046227.3287 |  | 2714028.7517 |  | 4005120.0162 |  | 3046227.3287 |  | 2714028.7517 |  | 4005120.0162 |  | 3255125.3655 | use this one
| 340C2 |  |  | R1 |  | R2 |  | R3 |  | R1 |  | R2 |  | R3 |  | R1 |  | R2 |  | R3 |  | R1 |  | R2 |  | R3 |  | R1 |  | R2 |  | R3 |  | Cond Avg
| Feedstream Number |  |  | F1 |  | F1 |  | F1 |  | F2 |  | F2 |  | F2 |  | F3 |  | F3 |  | F3 | [7 empty] | F4 |  | F4 |  | F4 |  | F4
| Feed Class |  |  | Liq HW |  | Liq HW |  | Liq HW |  | Sludge HW |  | Sludge HW |  | Sludge HW |  | Liq HW |  | Liq HW |  | Liq HW | [7 empty] | Total |  | Total |  | Total |  | Total
| Feed Class 2 | [20 empty] | HW |  | HW |  | HW |  | Total |  | Total |  | Total |  | Total
| Feedstream Description |  |  | TDI Residue | [5 empty] | Waste water sludge | [5 empty] | Mixed organic liquids | [11 empty] | Total |  | Total |  | Total |  | Total
340C2 | Feedrate | lb/hr |  | 2404 |  | 2187 |  | 2513 |  | 764 |  | 767 |  | 887 |  | 250 |  | 239.3 |  | 173.3
| Feedrate wet | lb/hr | [7 empty] | 3800 |  | 3975 |  | 3943
340C2 | Heating value | Btu/lb |  | 10720 |  | 10469 |  | 10991 |  | 2358 |  | 1865 |  | 1825 |  | 11426 |  | 13337 |  | 14798
340C2 | Ash | wt % |  | 0.31 |  | 0.29 |  | 0.29 |  | 68.33 |  | 74.24 |  | 74.5 |  | 0.1 |  | 0.17 |  | 0.07
340C2 | Chlorine | ppmw |  | 10500 |  | 10700 |  | 13100 |  | 16900 |  | 11900 |  | 12600 |  | 133000 |  | 18400 |  | 5100
340C2 | Antimony | ppmw | 1 | 3.3 | 1 | 3.3 | 1 | 3.2 | 1 | 32 | 1 | 26 | 1 | 30 | 1 | 2.9 | 1 | 2.7 | 1 | 3
340C2 | Arsenic | ppmw | 1 | 2.7 | 1 | 2.7 | 1 | 2.7 |  | 13 |  | 43 |  | 40 | 1 | 2.5 | 1 | 2.2 | 1 | 2.5
340C2 | Barium | ppmw |  | 0.657 |  | 0.65 |  | 1.64 |  | 92.1 |  | 164 |  | 210 | 1 | 0.098 | 1 | 0.09 | 1 | 0.098
340C2 | Beryllium | ppmw |  | 0.383 |  | 0.325 |  | 0.438 |  | 38 |  | 66.9 |  | 76.8 | 1 | 0.098 | 1 | 0.09 | 1 | 0.098
340C2 | Cadmium | ppmw | 1 | 0.164 | 1 | 0.162 | 1 | 0.164 | 1 | 0.135 | 1 | 0.149 |  | 0.163 | 1 | 0.147 | 1 | 0.135 | 1 | 0.148
340C2 | Chromium | ppmw |  | 13.5 |  | 12.9 |  | 13.3 |  | 57.3 |  | 100 |  | 128 | 1 | 0.197 | 1 | 0.18 | 1 | 0.197
340C2 | Lead | ppmw | 1 | 2.7 | 1 | 2.7 | 1 | 2.7 |  | 23 |  | 27 |  | 38 | 1 | 2.5 | 1 | 2.2 | 1 | 2.5
340C2 | Mercury | ppmw | 1 | 0.045 | 1 | 0.049 | 1 | 0.045 |  | 0.72 |  | 0.67 |  | 0.64 | 1 | 1.67 | 1 | 16.7 | 1 | 2
340C2 | Silver | ppmw | 1 | 1.1 | 1 | 1.1 | 1 | 1.1 | 1 | 11 | 1 | 8.8 | 1 | 1 | 1 | 0.98 | 1 | 0.9 | 1 | 0.98
340C2 | Thallium | ppmw | 1 | 5.5 | 1 | 5.4 | 1 | 5.5 | 1 | 50 | 1 | 50 | 1 | 40 | 1 | 4.9 | 1 | 4.5 | 1 | 4.9
| Ash | lb/hr | [25 empty] | 529.6 |  | 576.3 |  | 668.3
| Chlorine | lb/hr | [25 empty] | 131.5 |  | 104.6 |  | 105.7
| Stack Gas Flowrate | dscfm |  | 9889 |  | 9363 |  | 9166 |  | 9889 |  | 9363 |  | 9166 |  | 9889 |  | 9363 |  | 9166 | [7 empty] | 9889 |  | 9363 |  | 9166
| Oxygen | % |  | 7.97 |  | 8.6 |  | 7.93 |  | 7.97 |  | 8.6 |  | 7.93 |  | 7.97 |  | 8.6 |  | 7.93 | [7 empty] | 7.97 |  | 8.6 |  | 7.93
Feedrate MTEC Calculations
| Antimony | ug/dscm | 100 | 230.4612 | 100 | 232.6871 | 100 | 251.2657 | 100 | 710.2198 | 100 | 642.9515 | 100 | 831.449 | 100 | 21.0614 | 100 | 20.8313 | 100 | 16.2447 | 100 | 961.7424 | 100 | 896.4698 | 100 | 1098.9594 | 100 | 961.7424 | 100 | 896.4698 | 100 | 1098.9594 | 100 | 985.7239
| Arsenic | ug/dscm | 100 | 188.5592 | 100 | 190.3803 | 100 | 212.0054 |  | 288.5268 |  | 1063.3428 |  | 1108.5987 | 100 | 18.1564 | 100 | 16.9736 | 100 | 13.5372 | 41.7403 | 495.2423 | 16.3181 | 1270.6968 | 16.9055 | 1334.1414 | 41.7403 | 495.2423 | 16.3181 | 1270.6968 | 16.9055 | 1334.1414 | 20.6321 | 1033.3602
| Barium | ug/dscm |  | 45.8827 |  | 45.8323 |  | 128.7737 |  | 2044.1012 |  | 4055.5402 |  | 5820.1433 | 100 | 0.71173 | 100 | 0.69438 | 100 | 0.53066 |  | 2090.6957 |  | 4102.0668 |  | 5949.4476 |  | 2090.6957 |  | 4102.0668 |  | 5949.4476 |  | 4047.4034
| Beryllium | ug/dscm |  | 26.7475 |  | 22.9161 |  | 34.392 |  | 843.386 |  | 1654.3636 |  | 2128.5095 | 100 | 0.71173 | 100 | 0.69438 | 100 | 0.53066 |  | 870.8452 |  | 1677.9742 |  | 2163.4322 |  | 870.8452 |  | 1677.9742 |  | 2163.4322 |  | 1570.7505
| Cadmium | ug/dscm | 100 | 11.4532 | 100 | 11.4228 | 100 | 12.8774 | 100 | 2.9962 | 100 | 3.6846 |  | 4.5175 | 100 | 1.0676 | 100 | 1.0416 | 100 | 0.8014 | 100 | 15.5171 | 100 | 16.149 | 75.1733 | 18.1963 | 100 | 15.5171 | 100 | 16.149 | 75.1733 | 18.1963 | 90.94 | 16.6208
| Chromium | ug/dscm |  | 942.7958 |  | 909.5948 |  | 1044.3231 |  | 1271.7372 |  | 2472.8903 |  | 3547.5159 | 100 | 1.4307 | 100 | 1.3888 | 100 | 1.0667 |  | 2215.9638 |  | 3383.8739 |  | 4592.9058 |  | 2215.9638 |  | 3383.8739 |  | 4592.9058 |  | 3397.5812
| Lead | ug/dscm | 100 | 188.5592 | 100 | 190.3803 | 100 | 212.0054 |  | 510.4704 |  | 667.6804 |  | 1053.1688 | 100 | 18.1564 | 100 | 16.9736 | 100 | 13.5372 | 28.8231 | 717.186 | 23.6967 | 875.0343 | 17.6383 | 1278.7114 | 28.8231 | 717.186 | 23.6967 | 875.0343 | 17.6383 | 1278.7114 | 22.2789 | 956.9773
| Mercury | ug/dscm | 100 | 3.1427 | 100 | 3.4551 | 100 | 3.5334 |  | 15.9799 |  | 16.5684 |  | 17.7376 | 100 | 12.1285 | 100 | 128.8453 | 100 | 10.8298 | 48.8659 | 31.2511 | 88.8705 | 148.8687 | 44.7441 | 32.1008 | 48.8659 | 31.2511 | 88.8705 | 148.8687 | 44.7441 | 32.1008 | 76.3049 | 70.7402
| Silver | ug/dscm | 100 | 76.8204 | 100 | 77.5624 | 100 | 86.3726 | 100 | 244.138 | 100 | 217.6143 | 100 | 27.715 | 100 | 7.1173 | 100 | 6.9438 | 100 | 5.3066 | 100 | 328.0757 | 100 | 302.1205 | 100 | 119.3941 | 100 | 328.0757 | 100 | 302.1205 | 100 | 119.3941 | 100 | 249.8634
| Thallium | ug/dscm | 100 | 384.102 | 100 | 380.7606 | 100 | 431.8629 | 100 | 1109.7184 | 100 | 1236.4452 | 100 | 1108.5987 | 100 | 35.5865 | 100 | 34.7188 | 100 | 26.5329 | 100 | 1529.4069 | 100 | 1651.9246 | 100 | 1566.9946 | 100 | 1529.4069 | 100 | 1651.9246 | 100 | 1566.9946 | 100 | 1582.7754
| SVM | ug/dscm | 100 | 200.0124 | 100 | 201.8031 | 100 | 224.8828 | 1.498 | 513.4667 | 1.8258 | 671.365 |  | 1057.6863 | 100 | 9.612 | 100 | 9.0076 | 100 | 7.1693 | 30.0538 | 723.0911 | 25.2862 | 882.1757 | 17.9922 | 1289.7384 | 30.0538 | 723.0911 | 25.2862 | 882.1757 | 17.9922 | 1289.7384 | 23.2275 | 965.0017
| LVM | ug/dscm | 16.2817 | 1158.1024 | 16.9545 | 1122.8913 | 16.4254 | 1290.7206 |  | 2403.65 |  | 5190.5968 |  | 6784.6242 | 100 | 10.1494 | 100 | 9.5284 | 100 | 7.5673 | 5.5631 | 3571.9018 | 3.1616 | 6323.0165 | 2.7165 | 8082.912 | 5.5631 | 3571.9018 | 3.1616 | 6323.0165 | 2.7165 | 8082.912 | 3.4386 | 5992.6101
| Ash | mg/dscm | [19 empty] | 15384.996 |  | 18580.5307 |  | 20881.5255 |  | 15384.996 |  | 18580.5307 |  | 20881.5255 |  | 18282.3507 | use this one
| Chlorine | ug/dscm | [19 empty] | 3820103.7922 |  | 3372416.2914 |  | 3302674.3189 |  | 3820103.7922 |  | 3372416.2914 |  | 3302674.3189 |  | 3498398.1341 | use this one

## process 1
Process Information
|  |  | R1 | R2 | R3
* | 340C10
| Freeboard Temperature | F | 1782.68
| Stack Gas Velocity | acfm | 1831
| Comb Air | scfm | 4380
* | 340C11
| Freeboard Temperature | F | 1724.8 | 1733.8
| Stack Gas Velocity | acfm | 1733 | 1775
| Comb Air | scfm | 4390 | 4320
* | 340C12
| Freeboard Temperature | F | 1723 | 1708.6
| Stack Gas Velocity | acfm | 1749 | 1713
| Comb Air | scfm | 4620 | 4650

## process 2
Process Information 2
340C1
340C1 | 34010 | Fluid Bed Temperature | F | 1673 | 1678 | 1680
340C1 | 34011 | ESP Temperature | F | 436 | 440 | 441
340C2
340C2 | 34010 | Fluid Bed Temperature | F | 1661 | 1662 | 1682
340C2 | 34011 | ESP Temperature | F | 452 | 446 | 449

## df c10
PCDD/PCDF
N
Facility Name and ID: |  | Bayer, New Martinsville, WV
Condition ID: |  | 340C10
Condition/Test Date: |  | Baseline test
|  | I-TEF |  | Run 1 |  |  |  | 1 run only
|  | Wght Fact |  | Total | TEQ | Total | TEQ
|  |  |  | Full ND | Full ND | 1/2 ND | 1/2 ND
Detected in sample volume (pg)
| 2,3,7,8-TCDD | 1 |  | 240 | 240 | 240 | 240
| Total TCDD | 0 |  | 4100 | 0 | 4100 | 0
| 1,2,3,7,8-PCDD | 0.5 |  | 990 | 495 | 990 | 495
| Total PCDD | 0 |  | 8200 | 0 | 8200 | 0
| 1,2,3,4,7,8-HxCDD | 0.1 |  | 620 | 62 | 620 | 62
| 1,2,3,6,7,8-HxCDD | 0.1 |  | 1100 | 110 | 1100 | 110
| 1,2,3,7,8,9-HxCDD | 0.1 |  | 720 | 72 | 720 | 72
| Total HxCDD | 0 |  | 10000 | 0 | 10000 | 0
| 1,2,3,4,6,7,8-HpCDD | 0.01 |  | 3200 | 32 | 3200 | 32
| Total HpCDD | 0 |  | 6800 | 0 | 6800 | 0
| OCDD | 0.001 |  | 10000 | 10 | 10000 | 10
| 2,3,7,8-TCDF | 0.1 |  | 1900 | 190 | 1900 | 190
| Total TCDF | 0 |  | 100000 | 0 | 100000 | 0
| 1,2,3,7,8-PCDF | 0.05 |  | 6300 | 315 | 6300 | 315
| 2,3,4,7,8-PCDF | 0.5 |  | 7900 | 3950 | 7900 | 3950
| Total PCDF | 0 |  | 130000 | 0 | 130000 | 0
| 1,2,3,4,7,8-HxCDF | 0.1 |  | 12000 | 1200 | 12000 | 1200
| 1,2,3,6,7,8-HxCDF | 0.1 |  | 14000 | 1400 | 14000 | 1400
| 2,3,4,6,7,8-HxCDF | 0.1 |  | 14000 | 1400 | 14000 | 1400
| 1,2,3,7,8,9-HxCDF | 0.1 |  | 3400 | 340 | 3400 | 340
| Total HxCDF | 0 |  | 140000 | 0 | 140000 | 0
| 1,2,3,4,6,7,8-HpCDF | 0.01 |  | 63000 | 630 | 63000 | 630
| 1,2,3,4,7,8,9-HpCDF | 0.01 |  | 4600 | 46 | 4600 | 46
| Total HpCDF | 0 |  | 95000 | 0 | 95000 | 0
| OCDF | 0.001 |  | 31000 | 31 | 31000 | 31
| Gas sample volume (dscf) |  |  |  | 115.369 | 115.369 | 115.369
| O2 (%) |  |  |  | 8.77 | 8.77 | 8.77
| PCDD/PCDF (ng in sample) |  |  |  | 10.523 | 535.1 | 10.523
| PCDD/PCDF (ng/dscm @ 7% O2) |  | 0 |  | 3.6895 | 187.6122 | 3.6895
| TEQ Cond Avg | 3.6895
| Total Cond Avg | 187.6122

## df c11
PCDD/PCDF
N
Facility Name and ID: |  | Bayer, New Martinsville, WV
Condition ID: |  | 340C11
Condition/Test Date: |  | Carbon injected rate 1
|  | I-TEF |  | Run 1 |  |  |  | Run 2
|  | Wght Fact |  | Total | TEQ | Total | TEQ | Total | TEQ | Total | TEQ
|  |  |  | Full ND | Full ND | 1/2 ND | 1/2 ND | Full ND | Full ND | 1/2 ND | 1/2 ND
Detected in sample volume (pg)
| 2,3,7,8-TCDD | 1 |  | 32 | 32 | 32 | 32 | 45 | 45 | 45 | 45
| Total TCDD | 0 |  | 500 | 0 | 500 | 0 | 670 | 0 | 670 | 0
| 1,2,3,7,8-PCDD | 0.5 |  | 120 | 60 | 120 | 60 | 180 | 90 | 180 | 90
| Total PCDD | 0 |  | 1000 | 0 | 1000 | 0 | 1500 | 0 | 1500 | 0
| 1,2,3,4,7,8-HxCDD | 0.1 |  | 87 | 8.7 | 87 | 8.7 | 130 | 13 | 130 | 13
| 1,2,3,6,7,8-HxCDD | 0.1 |  | 150 | 15 | 150 | 15 | 200 | 20 | 200 | 20
| 1,2,3,7,8,9-HxCDD | 0.1 |  | 110 | 11 | 110 | 11 | 150 | 15 | 150 | 15
| Total HxCDD | 0 |  | 1600 | 0 | 1600 | 0 | 2100 | 0 | 2100 | 0
| 1,2,3,4,6,7,8-HpCDD | 0.01 |  | 510 | 5.1 | 510 | 5.1 | 680 | 6.8 | 680 | 6.8
| Total HpCDD | 0 |  | 1000 | 0 | 1000 | 0 | 1400 | 0 | 1400 | 0
| OCDD | 0.001 |  | 1800 | 1.8 | 1800 | 1.8 | 2500 | 2.5 | 2500 | 2.5
| 2,3,7,8-TCDF | 0.1 |  | 290 | 29 | 290 | 29 | 350 | 35 | 350 | 35
| Total TCDF | 0 |  | 13000 | 0 | 13000 | 0 | 17000 | 0 | 17000 | 0
| 1,2,3,7,8-PCDF | 0.05 |  | 880 | 44 | 880 | 44 | 1200 | 60 | 1200 | 60
| 2,3,4,7,8-PCDF | 0.5 |  | 1200 | 600 | 1200 | 600 | 1500 | 750 | 1500 | 750
| Total PCDF | 0 |  | 17000 | 0 | 17000 | 0 | 24000 | 0 | 24000 | 0
| 1,2,3,4,7,8-HxCDF | 0.1 |  | 1700 | 170 | 1700 | 170 | 2400 | 240 | 2400 | 240
| 1,2,3,6,7,8-HxCDF | 0.1 |  | 1900 | 190 | 1900 | 190 | 2700 | 270 | 2700 | 270
| 2,3,4,6,7,8-HxCDF | 0.1 |  | 2200 | 220 | 2200 | 220 | 2400 | 240 | 2400 | 240
| 1,2,3,7,8,9-HxCDF | 0.1 |  | 480 | 48 | 480 | 48 | 580 | 58 | 580 | 58
| Total HxCDF | 0 |  | 18000 | 0 | 18000 | 0 | 25000 | 0 | 25000 | 0
| 1,2,3,4,6,7,8-HpCDF | 0.01 |  | 8000 | 80 | 8000 | 80 | 11000 | 110 | 11000 | 110
| 1,2,3,4,7,8,9-HpCDF | 0.01 |  | 690 | 6.9 | 690 | 6.9 | 830 | 8.3 | 830 | 8.3
| Total HpCDF | 0 |  | 12000 | 0 | 12000 | 0 | 17000 | 0 | 17000 | 0
| OCDF | 0.001 |  | 3900 | 3.9 | 3900 | 3.9 | 4800 | 4.8 | 4800 | 4.8
| Gas sample volume (dscf) |  |  |  | 108.819 | 108.819 | 108.819 |  | 115.312 | 115.312 | 115.312
| O2 (%) |  |  |  | 8.6 | 8.6 | 8.6 |  | 8.47 | 8.47 | 8.47
| PCDD/PCDF (ng in sample) |  |  |  | 1.5254 | 69.8 | 1.5254 |  | 1.9684 | 95.97 | 1.9684
| PCDD/PCDF (ng/dscm @ 7% O2) |  | 0 |  | 0.55924 | 25.59 | 0.55924 |  | 0.67395 | 32.8588 | 0.67395
| TEQ Cond Avg | 0.6166
| Total Cond Avg | 29.2244

## df c12
PCDD/PCDF
N
Facility Name and ID: |  | Bayer, New Martinsville, WV
Condition ID: |  | 340C12
Condition/Test Date: |  | Carbon injected rate 2
|  | I-TEF |  | Run 1 |  |  |  |  | Run 2
|  | Wght Fact |  | Total | TEQ | Total | TEQ |  | Total | TEQ | Total | TEQ
|  |  |  | Full ND | Full ND | 1/2 ND | 1/2 ND |  | Full ND | Full ND | 1/2 ND | 1/2 ND
Detected in sample volume (pg)
| 2,3,7,8-TCDD | 1 |  | 31 | 31 | 31 | 31 |  | 11 | 11 | 11 | 11
| Total TCDD | 0 |  | 510 | 0 | 510 | 0 |  | 210 | 0 | 210 | 0
| 1,2,3,7,8-PCDD | 0.5 |  | 120 | 60 | 120 | 60 |  | 36 | 18 | 36 | 18
| Total PCDD | 0 |  | 1100 | 0 | 1100 | 0 |  | 400 | 0 | 400 | 0
| 1,2,3,4,7,8-HxCDD | 0.1 |  | 95 | 9.5 | 95 | 9.5 |  | 35 | 3.5 | 35 | 3.5
| 1,2,3,6,7,8-HxCDD | 0.1 |  | 140 | 14 | 140 | 14 |  | 70 | 7 | 70 | 7
| 1,2,3,7,8,9-HxCDD | 0.1 |  | 73 | 7.3 | 73 | 7.3 |  | 47 | 4.7 | 47 | 4.7
| Total HxCDD | 0 |  | 1500 | 0 | 1500 | 0 |  | 710 | 0 | 710 | 0
| 1,2,3,4,6,7,8-HpCDD | 0.01 |  | 370 | 3.7 | 370 | 3.7 |  | 240 | 2.4 | 240 | 2.4
| Total HpCDD | 0 |  | 810 | 0 | 810 | 0 |  | 470 | 0 | 470 | 0
| OCDD | 0.001 |  | 800 | 0.8 | 800 | 0.8 |  | 700 | 0.7 | 700 | 0.7
| 2,3,7,8-TCDF | 0.1 |  | 290 | 29 | 290 | 29 |  | 150 | 15 | 150 | 15
| Total TCDF | 0 |  | 12000 | 0 | 12000 | 0 |  | 5800 | 0 | 5800 | 0
| 1,2,3,7,8-PCDF | 0.05 |  | 830 | 41.5 | 830 | 41.5 |  | 310 | 15.5 | 310 | 15.5
| 2,3,4,7,8-PCDF | 0.5 |  | 1200 | 600 | 1200 | 600 |  | 480 | 240 | 480 | 240
| Total PCDF | 0 |  | 18000 | 0 | 18000 | 0 |  | 6800 | 0 | 6800 | 0
| 1,2,3,4,7,8-HxCDF | 0.1 |  | 1700 | 170 | 1700 | 170 |  | 580 | 58 | 580 | 58
| 1,2,3,6,7,8-HxCDF | 0.1 |  | 1900 | 190 | 1900 | 190 |  | 660 | 66 | 660 | 66
| 2,3,4,6,7,8-HxCDF | 0.1 |  | 1700 | 170 | 1700 | 170 |  | 880 | 88 | 880 | 88
| 1,2,3,7,8,9-HxCDF | 0.1 |  | 390 | 39 | 390 | 39 |  | 220 | 22 | 220 | 22
| Total HxCDF | 0 |  | 18000 | 0 | 18000 | 0 |  | 6700 | 0 | 6700 | 0
| 1,2,3,4,6,7,8-HpCDF | 0.01 |  | 6000 | 60 | 6000 | 60 |  | 2900 | 29 | 2900 | 29
| 1,2,3,4,7,8,9-HpCDF | 0.01 |  | 450 | 4.5 | 450 | 4.5 |  | 260 | 2.6 | 260 | 2.6
| Total HpCDF | 0 |  | 9400 | 0 | 9400 | 0 |  | 4600 | 0 | 4600 | 0
| OCDF | 0.001 |  | 1600 | 1.6 | 1600 | 1.6 |  | 1200 | 1.2 | 1200 | 1.2
| Gas sample volume (dscf) |  |  |  | 113.941 | 113.941 | 113.941 |  |  | 111.916 | 111.916 | 111.916
| O2 (%) |  |  |  | 8.97 | 8.97 | 8.97 |  |  | 10.17 | 10.17 | 10.17
| PCDD/PCDF (ng in sample) |  |  |  | 1.4319 | 63.72 | 1.4319 |  |  | 0.5846 | 27.59 | 0.5846
| PCDD/PCDF (ng/dscm @ 7% O2) |  | 0 |  | 0.51678 | 22.997 | 0.51678 | 0 |  | 0.23861 | 11.2609 | 0.23861
| TEQ Cond Avg | 0.37769
| Total Cond Avg | 17.129

## df c50
PCDD/PCDF
N
Facility Name and ID: |  | Bayer, New Martinsville, WV
Condition ID: |  | 340C50
Condition/Test Date: |  | Old 1992 PCDD/PCDF testing, as reported in new carbon injection evaluation testing report
|  | I-TEF | Run 1 |  |  |  | Run 2
|  | Wght Fact | Total | TEQ | Total | TEQ | Total | TEQ | Total | TEQ
|  |  | Full ND | Full ND | 1/2 ND | 1/2 ND | Full ND | Full ND | 1/2 ND | 1/2 ND
Detected in sample volume (pg)
| 2,3,7,8-TCDD | 1
| Total TCDD | 0
| 1,2,3,7,8-PCDD | 0.5
| Total PCDD | 0
| 1,2,3,4,7,8-HxCDD | 0.1
| 1,2,3,6,7,8-HxCDD | 0.1
| 1,2,3,7,8,9-HxCDD | 0.1
| Total HxCDD | 0
| 1,2,3,4,6,7,8-HpCDD | 0.01
| Total HpCDD | 0
| OCDD | 0.001
| 2,3,7,8-TCDF | 0.1
| Total TCDF | 0
| 1,2,3,7,8-PCDF | 0.05
| 2,3,4,7,8-PCDF | 0.5
| Total PCDF | 0
| 1,2,3,4,7,8-HxCDF | 0.1
| 1,2,3,6,7,8-HxCDF | 0.1
| 2,3,4,6,7,8-HxCDF | 0.1
| 1,2,3,7,8,9-HxCDF | 0.1
| Total HxCDF | 0
| 1,2,3,4,6,7,8-HpCDF | 0.01
| 1,2,3,4,7,8,9-HpCDF | 0.01
| Total HpCDF | 0
| OCDF | 0.001
Gas sample volume (dscf)
O2 (%)
PCDD/PCDF (ng in sample)
PCDD/PCDF (ng/dscm @ 7% O2)
| TEQ Cond Avg | 16
Total Cond Avg