## master
Condition ID Number | Source ID Number | Facility Name | City | Combustor Category | Combustor Class | Combustor Type | APCS Detailed Acronym | Short Kiln | ILRM Status | Hazardous Wastes | Liquid | Munitions Popping Furnace | Chemical Weapons Demil | Mixed Radioactive Waste | Commercial vs On-site | Government | Cond Dates | Cond Description | Cl Spiking | Cl Tier | Sootblow Run Number | Cl Campaign Number | Cl Rating | Cl Rating Comments | ND Total Chlorine R1 | Total Chlorine Stack R1 (ppmv) | ND Total Chlorine R2 | Total Chlorine Stack R2 (ppmv) | ND Total Chlorine R3 | Total Chlorine Stack R3 (ppmv) | ND Total Chlorine R4 | Total Chlorine Stack R4 (ppmv) |  |  | ND Total Chlorine RA | Total Chlorine Stack RA (ppmv) | Non SB ND % | No SB Run Emiss Avg |  |  |  |  | Cl SRE R2 (%) | Cl SRE R3 (%) | Cl SRE R4 (%) |  |  | Cl SRE R1 (%) |  |  |  | Cl SRE R2 (%) | Cl SRE R3 (%) | Cl SRE R4 (%) |  | Cl SRE R1 (%) |  | Cl HW Feed RA (ug/dscm) | Cl Spike Feed RA (ug/dscm) | Cl RM Feed RA (ug/dscm) | Cl Coal Feed RA (ug/dscm) | Cl MF Feed RA (ug/dscm) | Cl Total Feed RA (ug/dscm)
Source ID | Cond ID | Facility Information |  | Combustor Information |  |  | APCS | Short Kiln | ILRM Status | Hazardous | Liquid | Munitions | Chemical | Mixed | Comm | Gov't | Condition Information |  | Cl |  | SB | Cl Emissions |  |  | Cl Stack Emission (ppmv) - ND in % | [13 empty] | Cl SRE |  |  | Cl SRE (%) | [8 empty] | Cl SRE Used for Ranking Purposes (%) | [6 empty] | Cl Feedrate, Cond Avg (ug/dscm) | [5 empty] | Chlorine Total Feedrate (ug/dscm) - By Runs | [9 empty] | Chlorine Hazardous Waste + Spike Feedrate MTEC (ug/dscm) | [18 empty] | Thermal Feed Cond Avg (MMBtu/hr) |  |  |  |  | Thermal Emissions Rating |  |  | Chlorine HW Thermal Emiss (lb/109 Btu) | [5 empty] | Chlorine in HW (lb/MMBtu)
Number | Number | Facility Name | City | Combustor | Combustor | Combustor | Detailed |  |  | Wastes |  | Popping | Weapons | Radioactive | vs On-site |  | Cond | Cond Description | Spiking | Tier | Run | Camp | Rating | Rating Comments |  | R1 |  | R2 |  | R3 |  | R4 |  | R SB |  | Cond Avg |  | No SB | Campaign | Rating | Comments |  | R1 | R2 | R3 | R SB |  | Cond Avg |  | No SB |  | R1 | R2 | R3 | R SB | Cond Avg | No SB | HW | Spike | RM | Coal | MF | Total |  | R1 |  | R2 |  | R3 |  | R SB |  | Cond Avg |  | R1 |  | R2 |  | R3 |  | R4 | R5 | R6 | R7 | R8 | R9 | R10 | R11 |  | R SB |  | Cond | HW | Coal | MF | Total | Est Tot | Camp | Rating | Comments | R1 | R2 | R3 | R SB | Cond Avg |  | R1 |  | R2 | R3 | R SB |  | Cond Avg | Cond ID | Non SB
|  |  |  | Category | Class | Type | Acronym |  |  |  |  | Furnace | Demil | Waste |  |  | Dates |  |  |  | Number | Number |  |  | ND | Emiss | ND | Emiss | ND | Emiss | ND | Emiss | ND | Emiss | ND | Emiss | ND | Cond Avg | Number | [10 empty] | Cond Avg | [6 empty] | Cond Avg | [6 empty] | ND |  | ND |  | ND |  | ND |  | ND |  | ND |  | ND |  | ND |  | ND | [8 empty] | ND |  | ND | Avg | [5 empty] | No | [16 empty] | Cond Avg
1009 | 1009C2 | Eastman Chemicals Co. - Arkansas Eastman Div | Batesville | Coal boiler | Coal-fired boiler | Stoker | ESP |  |  | Liq |  | No | No | No | OS | No | 1999-04-01 | Trial burn, risk burn; max conditions for feedrates and other parameters | L | 3 | No | 1 | CT | no reported spiking, but Tier III |  | 581.6562 |  | 765.0323 |  | 747.7519 | [5 empty] | 698.1468 |  | 698.1468 | 1 | NA | Cl not controlled |  | 3.5226 | -16.9224 | -19.6244 |  |  | -11.3308 |  | -11.3308 |  | NA | NA | NA |  | NA | NA | 937098.6 | 0 |  | 13573.6 |  | 950672.2 |  | 913986.6 |  | 991930.1 |  | 947626.4 |  |  |  | 950672.2 |  | 904452.5 |  | 979221.7 |  | 929172 | [12 empty] | 937098.6 | 31.15 | 62.2537 |  | 93.4 | 92.7723 | 1 | NA | Chlorine only controlled through feedrate | 2259.0782 | 2662.9506 | 2749.1075 |  | 2557.0454 | 0 | 2.3416 |  | 2.2775 | 2.2981 |  |  | 2.3057 | 1009C2 | 937615.4
1009A | 1009C2 | Eastman Chemicals Co. - Arkansas Eastman Div | Batesville | Coal boiler | Coal-fired boiler | Stoker | ESP |  |  | Liq |  | No | No | No | OS | No | 1999-04-01 | Trial burn, risk burn; max conditions for feedrates and other parameters | L | 3 | No | 1 | NA | no reported spiking, but Tier III, data in lieu |  | 581.6562 |  | 765.0323 |  | 747.7519 | [5 empty] | 698.1468 |  | 698.1468 | 1 | NA | Cl not controlled |  | 3.5226 | -16.9224 | -19.6244 |  |  | -11.3308 |  | -11.3308 |  | NA | NA | NA |  | NA | NA | 937098.6 | 0 |  | 13573.6 |  | 950672.2 |  | 913986.6 |  | 991930.1 |  | 947626.4 |  |  |  | 950672.2 |  | 904452.5 |  | 979221.7 |  | 929172 | [12 empty] | 937098.6 | 31.15 | 62.2537 |  | 93.4 | 92.7723 | 1 | NA | Data in lieu | 2259.0782 | 2662.9506 | 2749.1075 |  | 2557.0454 | 0 | 2.3416 |  | 2.2775 | 2.2981 |  |  | 2.3057 | 1009C2 | 937615.4
1014 | 1014C10 | Celanese | Pampa | Coal boiler | Coal-fired boiler | Pulverized | FF |  |  | Liq |  | No | No | No | OS | No | 1998-09-01 | CoC; max waste feed rate | UL | 1 | R3 | 1 | N | Tier I for chlorine |  | 1.1667 |  | 1.1713 | [5 empty] | 1.0553 |  | 1.1311 |  | 1.1133 | 1 | NA | Cl not controlled | > | -83.5712 |  |  |  | > | -84 | > | 0 |  | NA |  |  |  | NA | NA | 467.3 | 0 |  | 2240.9 |  | 2708.2 | 69.7 | 3180 | 100 | 2472.4 |  |  | 100 | 2472.2 | 82.7 | 2708.2 |  | 964 | 100 | 221.2 | [11 empty] | 100 | 216.6 | 31.2 | 467.3 | 181.1018 | 719.5026 |  | 900.6 | 919.0684 | 1 | NA | Normal | 8.2655 |  |  |  | 8.2655 | 0 | 2.5602 | 100 | 2.7346 |  | 2.3653 | 31.2 | 2.5533 | 1014C10 | 592.6
1011 | 1011C1 | Eastman Chemicals Co. - Tennessee Eastman Div | Kingsport | Coal boiler | Coal-fired boiler | Stoker | ESP |  |  | Sludge |  | No | No | No | OS | No | 1998-02-01 | CoC; max feedrates | Y | 3 | R3 | 1 | CT |  |  | 181.2764 |  | 164.3629 | [5 empty] | 156.5169 |  | 167.3854 |  | 172.8196 | 1 | NA | Cl not controlled |  | -29.1281 | -34.5238 |  | -19.4759 |  | -27.5903 |  | -31.8259 |  | NA | NA |  | NA | NA | NA | 11121.2 | 164253.4 |  | 23509 |  | 198883.6 |  | 212823.6 |  | 185226.8 |  |  |  | 198600.3 |  | 198883.6 |  | 188131.7 |  | 163128.1 | [12 empty] | 174863.9 |  | 175374.6 | 10.7312 | 171.7115 |  | 182.44 | 191.0522 | 1 | NA | Chlorine only controlled through feedrate | 3305.9524 | 3678.6249 |  | 2825.9311 | 3270.1694 | 0 | 2.5602 |  | 2.7346 |  | 2.3653 |  | 2.5533 | 1011C1 | 175629.9
1011A | 1011C1 | Eastman Chemicals Co. - Tennessee Eastman Div | Kingsport | Coal boiler | Coal-fired boiler | Stoker | ESP |  |  | Liq, sludge |  | No | No | No | OS | No | 1998-02-01 | CoC; max feedrates | Y | 3 | R3 | 1 | NA | data in lieu |  | 181.2764 |  | 164.3629 | [5 empty] | 156.5169 |  | 167.3854 |  | 172.8196 | 1 | NA | Cl not controlled |  | -29.1281 | -34.5238 |  | -19.4759 |  | -27.5903 |  | -31.8259 |  | NA | NA |  | NA | NA | NA | 11121.2 | 164253.4 |  | 23509 |  | 198883.6 |  | 212823.6 |  | 185226.8 |  |  |  | 198600.3 |  | 198883.6 |  | 188131.7 |  | 163128.1 | [12 empty] | 174863.9 |  | 175374.6 | 10.7312 | 171.7115 |  | 182.44 | 191.0522 | 1 | NA | Data in lieu | 3305.9524 | 3678.6249 |  | 2825.9311 | 3270.1694 | 0 | 2.5602 |  | 2.7346 |  | 2.3653 |  | 2.5533 | 1011C1 | 175629.9
1011B | 1011C1 | Eastman Chemicals Co. - Tennessee Eastman Div | Kingsport | Coal boiler | Coal-fired boiler | Stoker | ESP |  |  | Liq, sludge |  | No | No | No | OS | No | 1998-02-01 | CoC; max feedrates | Y | 3 | R3 | 1 | NA | data in lieu |  | 181.2764 |  | 164.3629 | [5 empty] | 156.5169 |  | 167.3854 |  | 172.8196 | 1 | NA | Cl not controlled |  | -29.1281 | -34.5238 |  | -19.4759 |  | -27.5903 |  | -31.8259 |  | NA | NA |  | NA | NA | NA | 11121.2 | 164253.4 |  | 23509 |  | 198883.6 |  | 212823.6 |  | 185226.8 |  |  |  | 198600.3 |  | 198883.6 |  | 188131.7 |  | 163128.1 | [12 empty] | 174863.9 |  | 175374.6 | 10.7312 | 171.7115 |  | 182.44 | 191.0522 | 1 | NA | Data in lieu | 3305.9524 | 3678.6249 |  | 2825.9311 | 3270.1694 | 0 | 0.55427 |  | 0.70661 |  | 0.61723 |  | 0.62603 | 1011C1 | 175629.9
1012 | 1012C1 | Eastman Chemicals Co. - Tennessee Eastman Div | Kingsport | Coal boiler | Coal-fired boiler | Stoker | ESP |  |  | Biosludge |  | No | No | No | OS | No | 1997-06-01 | CoC; max feedrates | L | 3 | R3 | 1 | CT | no reported chlorine spiking, but Tier III |  | 55.8486 |  | 54.9868 | [5 empty] | 35.4904 |  | 48.7753 |  | 55.4 | 1 | NA | Cl not controlled |  | 44 | 50 |  | 64 |  | 53 |  | 47 |  | NA | NA |  | NA | NA | NA | 57381.2 |  |  | 91760.8 |  | 149142 |  | 143331.5 |  | 159180.7 |  |  |  | 144913.8 |  | 149142 |  | 47876.6 |  | 67124.4 | [12 empty] | 57142.7 |  | 57381.2 | 19.2028 | 224.9296 |  | 244.13 | 249.1706 | 1 | NA | Chlorine only controlled through feedrate | 327.4073 | 370.0368 |  | 229.1639 | 308.8693 | 0 | 0.55427 |  | 0.70661 |  | 0.61723 |  | 0.62603 | 1012C1 | 57500.5
1012A | 1012C1 | Eastman Chemicals Co. - Tennessee Eastman Div | Kingsport | Coal boiler | Coal-fired boiler | Stoker | ESP |  |  | Liq |  | No | No | No | OS | No | 1997-06-01 | CoC; max feedrates | L | 3 | R3 | 1 | NA | no reported chlorine spiking, but Tier III, data in lieu |  | 55.8486 |  | 54.9868 | [5 empty] | 35.4904 |  | 48.7753 |  | 55.4 | 1 | NA | Cl not controlled, data in lieu |  | 44 | 50 |  | 64 |  | 53 |  | 47 |  | NA | NA |  | NA | NA | NA | 57381.2 |  |  | 91760.8 |  | 149142 |  | 143331.5 |  | 159180.7 |  |  |  | 144913.8 |  | 149142 |  | 47876.6 |  | 67124.4 | [12 empty] | 57142.7 |  | 57381.2 | 19.2028 | 224.9296 |  | 244.13 | 249.1706 | 1 | NA | Data in lieu | 327.4073 | 370.0368 |  | 229.1639 | 308.8693 | 0 | 0.0092391 |  | 0.00093432 |  | 0.00096967 |  | 0.0037144 | 1012C1 | 57500.5
1013 | 1013C10 | Celanese | Pampa | Coal boiler | Coal-fired boiler | Pulverized | FF |  |  | Liq |  | No | No | No | OS | No | 1998-09-01 | CoC; max waste feed rate | UL | 1 | R3 | 1 | N | Tier I for chlorine |  | 1.1747 |  | 1.0861 | [5 empty] | 1.7273 |  | 1.3294 |  | 1.1304 | [19 empty] | 683.2 |  |  | 2137.4 |  | 2820.6 | 55.7 | 3765.9 | 100 | 2313.6 |  |  | 100 | 2382.3 | 100 | 2820.6 |  | 1669.7 | 100 | 185.6 | [11 empty] | 100 | 194.2 | 18.5 | 683.2 | 159.897 | 694.3833 |  | 854.28 | 967.6516 | [8 empty] | 0 | 0.0045026 | 100 | 0.00090004 |  | 0.00092663 | 18.5 | 0.0021098 | 1013C10 | 927.65
719 | 719C10 | Eastman Chemicals Co. - Tennessee Eastman Div | Kingsport | Coal boiler | Coal-fired boiler | Stoker | ESP |  |  | Liq, sludge |  | No | No | No | OS | No | 1998-06-01 | CoC; max feedrates | Y | 3 | R3 | 1 | CT | R1 not reported; sample train leak check failure |  |  |  | 85.1968 | [5 empty] | 142.4035 |  | 113.8002 |  | 85.1968 | 1 | NA | Cl not controlled |  | 16 | -28 |  |  |  | -7 |  | -6 |  | NA | NA |  |  | NA | NA | 8932.8 | 127306.7 |  | 18317.8 |  | 154557.3 | 0 | 147472.3 | 0 | 161642.4 |  |  |  |  | 0 | 154557.3 |  |  |  | 143249.7 | [14 empty] | 136239.5 | 74.7679 | 334.0903 |  | 408.01 | 489.3375 | 1 | NA | Chlorine only controlled through feedrate | 697.6632 | 932.8795 |  |  | 815.2714 | 0 | 0.79659 |  | 0.69849 |  |  |  | 0.74754 | 719C10 | 143249.7
719A | 719C10 | Eastman Chemicals Co. - Tennessee Eastman Div | Kingsport | Coal boiler | Coal-fired boiler | Stoker | ESP |  |  | Liq, sludge |  | No | No | No | OS | No | 1998-06-01 | CoC; max feedrates | Y | 3 | R3 | 1 | NA | R1 not reported; sample train leak check failure, data in lieu |  |  |  | 85.1968 | [5 empty] | 142.4035 |  | 113.8002 |  | 85.1968 | 1 | NA | Cl not controlled, data in lieu |  | 16 | -28 |  |  |  | -7 |  | -6 |  | NA | NA |  |  | NA | NA | 8932.8 | 127306.7 |  | 18317.8 |  | 154557.3 | 0 | 147472.3 | 0 | 161642.4 |  |  |  |  | 0 | 154557.3 |  |  |  | 143249.7 | [14 empty] | 136239.5 | 74.7679 | 334.0903 |  | 408.01 | 489.3375 | 1 | NA | Data in lieu | 697.6632 | 932.8795 |  |  | 815.2714 | 0 | 0.79659 |  | 0.69849 |  |  |  | 0.74754 | 719C10 | 143249.7
908 | 908C1 | Union Carbide Corporation | South Charleston | Coal boiler | Coal-fired boiler | Pulverized | ESP |  |  | Liq |  | No | No | No | OS | No | 1998-05-01 | CoC, max haz waste feed rate, max load | Y | 3 | R3 | 1 | CT |  |  | 171.22 |  | 179.9849 | [5 empty] | 167.9383 |  | 172.4131 |  | 175.6025 | 1 | NA | Cl not controlled |  | 1.6635 | -15.6568 |  | -11.9394 |  | -7.8115 |  | -6.9967 |  | NA | NA |  | NA | NA | NA | 3034.4 | 174143.8 |  | 64917 |  | 242439.9 |  | 263960.5 |  | 235919.6 |  |  |  | 227439.5 |  | 242439.9 |  | 191327.8 |  | 171218 | [12 empty] | 170022.8 |  | 177178.2 | 25.371 | 250.3104 |  | 275.68 | 305.9022 | 1 | NA | Chlorine only controlled through feedrate | 1612.9979 | 2234.6722 |  | 2162.7478 | 2003.4726 | 0 | 1.6403 |  | 1.9322 |  | 1.9321 |  | 1.8348 | 908C1 | 181272.9