2300 Industrial Park Drive	Jim Lawrence, President/CEO		Wilson, North Carolina 27893	Direct Phone:  (252) 243-8266

Phone:  (252) 243-0150	Direct Fax:  (252) 206-1882

Toll Free:  (800) 234-4394	Email:  jll@emcoretail.com

Date:  September 29, 2004

To: Mr. Thomas Driscoll

From: Jim Lawrence

MESSAGE_______________________________________________________________________

Dear Tom,

Listed below are our comments with respect to the EPA Stage II Vapor Recovery Systems Issues Paper.

- ORVR Definition for Widespread Use

Ostensibly both Stage II systems and ORVR vehicles run at 95% efficiency. Consequently if Stage II controls were removed from dispensing facilities when the vehicle population is 95% ORVR, the net effect on emissions would be zero. The 95% ORVR vehicle trigger would then be a logical starting point. However, allowing the 5% non ORVR vehicles to begin refueling with no vapor recovery increases their emission rate by a factor of 20. This flies in the face of common sense. Surely any environmental protection advocate worth his weight in VOC’s would cringe at the prospect of abandoning the use of effective, proven methods of reducing refueling emissions. This is particularly true if these systems are compatible with ORVR vehicles.

Therefore, setting the widespread use definition at a vehicle population percentage of 98 seems a prudent step to insure effective emission control in serious, or worse, non attainment areas.

The continued use of Stage II controls in moderate non attainment areas is likewise worthwhile, and we feel that it should be encouraged.

With regard to the best method to determine widespread use, the easiest calculable method seems best suited to the situation; why use complex equations and immense data gathering programs when you can call the vehicle registration office and get a workable answer?

2) P/V Vents on UST’s

The Issues Paper makes frequent reference to P/V vents, and at one point (page 8 paragraph 1) it is stated that California is expected to require P/V  valves on all UST vents for Stage I control. To the best of our knowledge the P/V vents have been required on Phase I for a considerable amount of time. For example, attachment 1 is a 1985 ARB Executive Order G-70-97-A, listing approved P/V vents.

.

The broader issue that P/V vent effectiveness needs additional study is a valid point and could result in significant emission control for small sums of money. Regardless of the fate of Stage II systems, UST’s should all incorporate P/V vents.

3) Stage II System Compatibility with ORVR

Balance Systems have been deemed compatible with ORVR by the California Air Resources Board (attachment 2). They do not produce excess UST emissions. The systems are simple and considerably less expensive to install and maintain than other Stage II systems.

As stated by Bud Pratt of the State of Missouri (at the September 20 meeting), interface efficiencies with Balance Stage II and ORVR have been shown to be 98%+. We look forward to reviewing his data when the meeting results are published. This 20-year-old technology effectively and economically, solves the ORVR incompatibility emissions problem. Conversion from other Stage II systems to balance is not expensive. The bulk of the cost is in hanging hardware - a good portion of which gets changed during general maintenance over the course of a few years anyway.

The historical objection to the Balance System is that the nozzle is somewhat difficult to insert into the vehicle filler neck. Newer nozzle designs, precipitated by the new EVR requirements, are easily adapted to the old systems and effectively overcome this objection.

Assist and Hybrid Systems are customer friendly, but complex. Since they require add-on control devises to deal with the incompatibility emissions problem, they are expensive. A $30,000 processor cost per site was quoted in the September 20 meeting, although there is a range among the different suppliers.

4) Improved Monitoring for Stage II VRS

Oversight inspections have certainly improved Stage II efficiency. In Southern California an initial surge in replacement part orders indicated to us that many sites were not being properly maintained. The process has also forced equipment suppliers to improve the quality and reliability of their products. Faced with maintaining properly functioning stations, operators quickly determine what works best.

However, oversight inspections are very different animals than planned obsolescence programs.  The proposal sketched out in paragraph 1 page 25 of the Issues Paper is simply not realistic. Date stamping and replacing components on a regular basis regardless of any known problem is unduly burdensome to the gas station operators.

The typical GDF has multiple refueling positions incorporating nozzles, swivels, hoses, breakaway couplings, and whip hoses. The volume of fuel dispensed from the separate fueling locations varies considerably, and that volume relates directly to wear on the components. The service lives of the components vary, so changing them at one time would be wasteful and changing them individually would be expensive. Added to this would be replacements due to drive away incidents, and equipment failures. The result is a never ending nightmare for the station maintenance people. They would be forced to continuously check dates on each and every component of every fueling location to insure compliance. The cost would be tremendous. This approach is great for equipment sales but the net effect on emission reduction is not so clear.

5) California Enhanced Vapor Recovery (EVR) Requirements

A number of requirements incorporated into the EVR program are straightforward and will result in decreased emissions. These include the dripless nozzle, liquid retention requirements, Balance System component pressure drops and leak tight connectors and fittings. The leak tight connectors, liquid retention requirement and dripless nozzles all require equipment design changes, and they directly result in improved performance.

To the contrary, the pressure limit requirement of +0.25 inches w.c. daily average, and +1.5 inches w.c. maximum requirement seeks to minimize pressure related fugitive emissions. These emissions may not actually exist in a properly constructed and tested system. These are the same emissions that are addressed by the phase I EVR requirements. The net result is a requirement that, in effect, chases potential fugitive emissions.

The Emco Stage I EVR test site using standard balance type nozzles averaged +0.167 w.c. daily with a +0.947 w.c. maximum over the first two weeks of operation. This illustrates that the answer to lower emissions may well lay in the new Stage I requirements and in the quality of construction and maintenance of the system. It is interesting to note that the P/V vent (set at 3 in w.c.) never opened throughout the entire time period. This data are available upon request.

.